## START HERE
Application Instructions :
1. Begin by completing Section 1-6 on the BE workbook tab.
a. Attachments should include:
i. Completed workbook tabs to include:
(a) Building Envelope Details
(b) Inspection Disclaimer Form
(c) Combustion Safety Form
(d) Health & Safety Costs
ii. Itemized invoice to include scope of work, Ameren incentive, co-pay information, installed unit addresses as well as the property signature.
b. Project start and completion date must be completed. Any changes should be communicated to your designated Field Energy Specialist
2. On the Building Envelope Unit Details Tabs, enter all air sealing, attic insulation, and other measure details for each location as applicable.
Ensure to include estimated post air sealing numbers. Ensure to update after performing final blower door test.
a. Please include pre and post photos of blower door numbers ensuring to collect CO levels per unit.
b. Separate communities although under the same owner, will need separate applications.
c. For larger projects, please submit applications in phases. Please contact the program team for additional support.
d. Any additional notes regarding the project should be entered in the Notes section
3. Health & Safety Costs Tab
a. Refer to Health & Safety – PY Pricing Tab for additional items and pricing.
b. Please note, properly sealed vapor barrier and termination of bath fans outside building shell must be completed at project site.

## BE Workbook
AMEREN ILLINOIS ENERGY EFFICIENCY PROGRAM
PY2026 Multifamily IQ and Public Housing Workbook - Building Envelope
Please complete the application, provide a copy to the customer, attach required documentation and send it to the following email address: IllinoisMultifamilyEE@ameren.com. All projects will receive a project number via email. The project number is required prior to project start date. All program paperwork must be submitted within 30 days of the project completion or by December 15, 2026, whichever comes first.
Project Number: | OSS Number: |  |  |  |  | Channel:
Section 1: Property Information
Property Name:
Mailing Address: |  |  | City: |  |  | State: |  | Zip Code:
Owner/Manager Name: |  |  | Title:
Phone: |  |  | Email:
Ameren Illinois Gas Account: |  |  | Ameren Illinois Electric Account:
Physical Address: |  |  | City: |  |  | State: | IL | Zip Code:
Number of Tenant Buildings: |  |  | Number of Additional Buildings (non tenant):
Number of Tenant Units: |  |  | Number of Stories: |  |  | Foundation Type:
Primary Heating Fuel: |  |  | Roof Type:
Heating System: |  |  | Heating System Make/Model (if available):
Cooling System: |  |  | Cooling System Make/Model (if available):
Section 2: Program Ally Information
Program Ally Company Name: |  |  | Program Ally Contact Name:
Mailing Address: |  |  | City: |  |  | State: |  | Zip Code:
Phone: |  |  | Email:
Section 3: Energy Efficiency Measure Information
Measure |  | Incentive Rate |  | Quantitiy |  | Maximum |  | Sub-Total
Air Sealing |  | 0 | per CFM50 |  | CFM50 | 5000 |  | 0
Attic Insulation - R11 or less improved to R49 or greater |  | 1.9 | per SF |  | Total SF | NA |  | 0
Attic Insulation - R12 - R19 improved to R49 or greater |  | 1.55 | per SF |  | Total SF | NA |  | 0
Attic Insulation - R20 - R30 improved to R49 or greater |  | 1.25 | per SF |  | Total SF | NA |  | 0
Wall Insulation - R0 to R11 or greater |  | 2.3 | per SF |  | Total SF | NA |  | 0
Rim Joist Insulation - R0 to R10 or greater |  | 5.05 | per LF |  | Total LF | NA |  | 0
Crawl Space Wall Insulation - R0 to R10 or greater |  | 8.85 | per LF |  | Total LF | NA |  | 0
Duct Sealing |  | 400 | per Unit |  | Units | NA |  | 0
Non-Project Stipend |  | 100 | per Bldg. |  | Buildings | 300 |  | 0
Health & Safety Total - Health and Safety costs should not exceed 50% of the total project cost. | [7 empty] | 0
BE Bonus |  | 1500 | per Bldg. |  | Buildings | NA |  | 0
Total Incentive:
Section 4: Attachments
 Building Envelope Unit Details |  |  |  Combustion Safety Form
 Include pictures of blower door number, CO level pre and post |  |  |  Invoices
 Itemized Health and Safety Costs
Section 5: Project Information
Projected Start Date: |  | Projected Completion Date:
Section 6: Reservation Request - Customer Authorization of Project
I, the undersigned, agree that the information above is representative of what has been discussed and proposed by the participating program ally (contractor). I understand that Ameren Illinois program incentives and financing are subject to qualifications and not guaranteed. The property owner and his or her heirs or assigned agree not to raise the rent as a result of the improvements made with this project on the above described property. Additionally, property owner agrees not to raise said rent for a minimum of 12 months from the date of the completion of the project.
Customer Signature: | [5 empty] | Date:
Program Ally Signature: | [5 empty] | Date:
Section 7: Incentive Payment Request - Acknowledgement of Project Completion
I certify the information I have provided is true and correct and any work performed meets the program guidelines and Terms and Conditions of the Program. I hereby request an incentive for the above listed work and understand the incentive cannot exceed 100% of the project cost. I agree to allow Ameren Illinois Program staff to perform an on-site Quality Assurance inspection to confirm test results and verify the work performed. Do not sign prior to project completion.
Customer Signature: | [5 empty] | Date:
Program Ally Signature: | [5 empty] | Date:
MULTIFAMILY INITIATIVE
Customer Application
AMEREN ILLINOIS ENERGY EFFICIENCY PROGRAM TERMS AND CONDITIONS
1. Definitions – In addition to terms defined elsewhere herein, when any one of the following terms is used in these Terms and Conditions, wherein the first letter is written with a capital letter, then that term shall have the following definition. Words importing persons include corporation, and words importing only the singular include the plural and vice versa when the context requires. a) “Ameren Illinois” shall mean Ameren Illinois Company d/b/a Ameren Illinois. b) “Prime Implementer” shall mean Leidos Engineering, LLC that has been selected by Ameren Illinois to administer and oversee the Ameren Illinois Energy Efficiency Program. c) “Program Ally” shall mean contractors/ allies who have met the minimum qualifications established by Ameren Illinois and the Prime Implementer and are allowed to offer program incentives. d) “Application”shall mean the Customer or Program Ally completed document used to apply for cash incentives or used for any other appropriate application-specific documentation. e) “Customer” shall mean an Eligible Customer who has submitted an Application for incentive money using their Ameren Illinois account number. f) “Eligible Customer” shall mean a residential customer of Ameren Illinois, with an active Ameren Illinois-delivered electric or gas account residing in an existing home or new construction. Individually metered residential multifamily units must have prior program approval to participate. The Application must be filled out completely and accurately, signed and accompanied by dated copies of the invoices. See the project/measure eligibility for requirements specific to individual incentives. g) “Program” shall mean the Ameren Illinois Energy Efficiency Program and the plan or measure that is the subject of an Application. h) “Program Manager” shall mean the Prime Implementer designee in charge of the Program. i) “Pre-approval” when required, shall mean written notification via a pre-approval letter to the Program Ally that Ameren Illinois or Prime Implementer has reviewed Customer's Application and determined that the project meets the program eligibility requirements for a maximum pre-approved incentive amount if the project is completed by the estimated completion date and all final application paperwork is submitted and approved.
2. General – These Terms and Conditions shall apply to this Agreement.
3. Independent Contractor – Customer acknowledges that a listing in the Program Ally database does not constitute any endorsement of the Program Ally by Ameren Illinois. Program Ally is an independent contractor participating in the Program and not an employee of, or under contract to, Ameren Illinois or the Prime Implementer. Program Ally is not authorized to assume or create any obligation or liabilities, express or implied, on behalf of or in the name of Ameren Illinois or the Prime Implementer.
4. Pre and Post Installation Verification – Ameren Illinois or the Prime Implementer is not obligated to make any incentive payment until it has performed a satisfactory post-installation verification. This provision may be waived at the sole discretion of Ameren Illinois or the Prime Implementer. Inspections conducted are solely for the purpose of determining Program compliance and are not safety or building code inspections.
5. Incentive Payments/Limits – For all Applications, Ameren Illinois and the Prime Implementer are not obligated to award any incentive payment unless a reservation form and/or Application is submitted and granted (Pre-approval). Pre-approval reserves incentive funds for a period up to the estimated completion date provided in the Pre-approval letter. Customer and the Customer selected Program Ally are responsible for ensuring the Application is accurate and equipment meets eligibility requirements in order to receive the Pre-approval incentive payment. Incentive payments will be issued to Program Ally. The Program Ally shall inform Customer of Program financial incentives and shall include a discount to the Customer in the amount of the incentive, labeled on Customer’s invoice as “Ameren Illinois Energy Efficiency Program Incentive.”
6. Warranty – Ameren Illinois and the Prime Implementer do not warranty craftsmanship and do not make any representations or warranties of any kind regarding the work to be performed by the Program Ally. The Program Ally is required by the Program to provide Customer with a written warranty covering installation labor for a minimum of one year from the date the services are performed. Program Ally will provide proof of purchase documentation to Customer for all installed, qualifying energy efficiency measures to support future manufacturer’s warranty claims by Customer. Offers of, and documentation referring to, any applicable extended warranty coverage shall be supplied to the Customer by the Program Ally, if applicable.
7. Indemnification – Customer agrees to protect, indemnify, defend and hold harmless Ameren Illinois, the Prime Implementer, and their respective affiliates, subsidiaries, parent companies, officers, directors, agents, subcontractors, and employees (collectively the “Indemnified Parties”), against all losses, damages, expenses, fees, costs and liability arising from any program, design, consulting, measures, product, system, equipment, pre-existing conditions (health or safety) or appliance. Customer agrees that such obligations under this section shall survive any expiration or termination of this Agreement and shall not be limited to any remunerations herein of required insurance coverage. To the maximum extent permitted by law, the Customer agrees to limit the Indemnified Parties’ liability to the Customer for any reason to the total amount of incentive payments identified in this Agreement. This limitation shall apply regardless of the cause of action or legal theory pled or asserted.
8. Changes In/Cancellation of the Program – a) Ameren Illinois and the Prime Implementer may change the program requirements, incentives, or these Terms and Conditions at any time without notice, including suspending acceptance of Applications, denial of Applications already received but not pre-approved, or terminating the Program. b) In the event of a program change, Applications that have been granted Pre-approval will be processed to completion under the Terms and Conditions in effect at the time of Pre-approval. c) Cash incentives under the Ameren Illinois Program are offered on a first-come, first-served basis and are subject to project and Customer eligibility, and the availability of funds.
9. Miscellaneous – Ameren Illinois and the Prime Implementer reserve the right to make changes to the Program, program incentives, rules, guidelines, and these Terms and Conditions upon written notice to the Customer. These Terms and Conditions shall be governed by Illinois law.
General Inquiries: Ameren Illinois Energy Efficiency Program • 300 Liberty St, 4th Floor, Peoria, IL 61602 Toll-free: 1.866.838.6918 • AmerenIllinoisSavings.com

## Revision Tracker (hidden)
Rev # | Changes
1 | Initital release of PY25
2 | Added Wall, Rim, and Crawl Wall Insulation
Added Make/Model for HVAC equipment
3 | Adjusted Health and Safety cap to 50% of total project cost
4 | Added R30 Attic Insulation
1 | Initial release of PY26
2 | Added Building Envelope Details tabs to support bigger buildings

## Building Envelope Details
Building Envelope - Building Details
Project Number: | [6 empty] | OSS Number:
Air Sealing - Measurements taken with a blower door test. Units to be cubic feet per minute (CFM) at 50 pascals (50CFM)
Material Type (select all that apply): |  |  |  |  | Caulk |  |  | Joint Compound |  |  | One Part Foam
[5 empty] | Weatherstripping |  |  | Other
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Total CFM Reduction:
Attic Insulation - Blown Cellulose, Blown Fiberglass, or Spray Foam are the only approved materials
Depth of Existing Insulation (inches): | [6 empty] | New Insulation Type:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Total Insulated Area (sqft):
Attic Air Sealing Detail - Check all air sealing work completed as part of the work scope
|  | Top Plates Sealed | [6 empty] | Mechanical Chases Sealed
|  | Plumbing Wet Walls Sealed | [6 empty] | Attic Level Transitions Sealed
|  | Chimney Penetrations Sealed | [6 empty] | Bath Fans Sealed
|  | Recessed Lights Enclosed (Non-ICAT) | [6 empty] | Air Barrier Installed Over Open Cavities
|  | Recessed Lights Sealed (ICAT) | [6 empty] | HVAC Registers Sealed
|  | Attic Accesses Sealed | [6 empty] | Fire Rated Walls Sealed
|  | Drop Soffit Areas Sealed | [6 empty] | Knee Wall Transition Bypass Sealed
Notes - Describe any unusual conditions:
Duct Sealing - More than 50% of the ductwork for each unit must be in unconditioned space and sealed "Tight" to R4
|  | Heating | [5 empty] | Cooling
Unit # |  | Before |  | After |  | Improvement |  | Before |  | After |  | Improvement
Total Number of Units
Distribution Efficiency
Attic | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 69% |  | 6% |  | 61% |  | 4%
|  |  | Average |  |  | 73% |  |  |  | 64%
|  |  | Tight |  |  | 77% |  |  |  | 73%
Up to R-3 |  |  | Leaky |  |  | 76% |  | 4% |  | 65% |  | 4%
|  |  | Average |  |  | 82% |  |  |  | 74%
|  |  | Tight |  |  | 87% |  |  |  | 84%
R-4 to R-7 |  |  | Leaky |  |  | 79% |  | 3% |  | 67% |  | 3%
|  |  | Average |  |  | 84% |  |  |  | 77%
|  |  | Tight |  |  | 90% |  |  |  | 87%
R-8+ |  |  | Leaky |  |  | 80% |  | 2% |  | 69% |  | 2%
|  |  | Average |  |  | 86% |  |  |  | 79%
|  |  | Tight |  |  | 92% |  |  |  | 90%
Unconditioned Basement | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 93% |  | 2% |  | 81% |  | 2%
|  |  | Average |  |  | 94% |  |  |  | 87%
|  |  | Tight |  |  | 95% |  |  |  | 94%
Up to R-3 |  |  | Leaky |  |  | 94% |  | 1% |  | 83% |  | 1%
|  |  | Average |  |  | 96% |  |  |  | 88%
|  |  | Tight |  |  | 97% |  |  |  | 95%
R-4 to R-7 |  |  | Leaky |  |  | 95% |  | 1% |  | 83% |  | 1%
|  |  | Average |  |  | 96% |  |  |  | 89%
|  |  | Tight |  |  | 98% |  |  |  | 95%
R-8+ |  |  | Leaky |  |  | 95% |  | 0% |  | 83% |  | 0%
|  |  | Average |  |  | 97% |  |  |  | 89%
|  |  | Tight |  |  | 98% |  |  |  | 95%
Vented Crawl Space | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 74% |  | 6% |  | 76% |  | 3%
|  |  | Average |  |  | 78% |  |  |  | 83%
|  |  | Tight |  |  | 82% |  |  |  | 91%
Up to R-3 |  |  | Leaky |  |  | 80% |  | 3% |  | 78% |  | 2%
|  |  | Average |  |  | 85% |  |  |  | 85%
|  |  | Tight |  |  | 90% |  |  |  | 93%
R-4 to R-7 |  |  | Leaky |  |  | 82% |  | 2% |  | 79% |  | 1%
|  |  | Average |  |  | 87% |  |  |  | 86%
|  |  | Tight |  |  | 92% |  |  |  | 94%
R-8+ |  |  | Leaky |  |  | 84% |  | 2% |  | 79% |  | 1%
|  |  | Average |  |  | 89% |  |  |  | 87%
|  |  | Tight |  |  | 94% |  |  |  | 94%
Notes:
1: | More than 50% of the ductwork for each unit must be in unconditioned space to qualify for duct sealing.
2: | All accessible duct work in unconditioned space must be sealed "Tight' and insulated to R-4.
3: | Duct system efficiency is determined separately for heating and cooling systems.
4: | Based on duct location, duct insulation R-value, and leakiness, look up the duct system efficiency in the appropriate table.
5: | For duct systems less than 75% in unconditioned space, add the values listed in the next column.
Wall Insulation
Percentage of Wall at Existing R-Value: | [6 empty] | New Insulation Type:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Total Insulated Area (sqft):
Duct Sealing - More than 50% of the ductwork for each unit must be in unconditioned space and sealed "Tight" to R4
|  | Heating | [5 empty] | Cooling
Unit # |  | Before |  | After |  | Improvement |  | Before |  | After |  | Improvement
Total Number of Units
Distribution Efficiency
Attic | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 69% |  | 6% |  | 61% |  | 4%
|  |  | Average |  |  | 73% |  |  |  | 64%
|  |  | Tight |  |  | 77% |  |  |  | 73%
Up to R-3 |  |  | Leaky |  |  | 76% |  | 4% |  | 65% |  | 4%
|  |  | Average |  |  | 82% |  |  |  | 74%
|  |  | Tight |  |  | 87% |  |  |  | 84%
R-4 to R-7 |  |  | Leaky |  |  | 79% |  | 3% |  | 67% |  | 3%
|  |  | Average |  |  | 84% |  |  |  | 77%
|  |  | Tight |  |  | 90% |  |  |  | 87%
R-8+ |  |  | Leaky |  |  | 80% |  | 2% |  | 69% |  | 2%
|  |  | Average |  |  | 86% |  |  |  | 79%
|  |  | Tight |  |  | 92% |  |  |  | 90%
Unconditioned Basement | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 93% |  | 2% |  | 81% |  | 2%
|  |  | Average |  |  | 94% |  |  |  | 87%
|  |  | Tight |  |  | 95% |  |  |  | 94%
Up to R-3 |  |  | Leaky |  |  | 94% |  | 1% |  | 83% |  | 1%
|  |  | Average |  |  | 96% |  |  |  | 88%
|  |  | Tight |  |  | 97% |  |  |  | 95%
R-4 to R-7 |  |  | Leaky |  |  | 95% |  | 1% |  | 83% |  | 1%
|  |  | Average |  |  | 96% |  |  |  | 89%
|  |  | Tight |  |  | 98% |  |  |  | 95%
R-8+ |  |  | Leaky |  |  | 95% |  | 0% |  | 83% |  | 0%
|  |  | Average |  |  | 97% |  |  |  | 89%
|  |  | Tight |  |  | 98% |  |  |  | 95%
Vented Crawl Space | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 74% |  | 6% |  | 76% |  | 3%
|  |  | Average |  |  | 78% |  |  |  | 83%
|  |  | Tight |  |  | 82% |  |  |  | 91%
Up to R-3 |  |  | Leaky |  |  | 80% |  | 3% |  | 78% |  | 2%
|  |  | Average |  |  | 85% |  |  |  | 85%
|  |  | Tight |  |  | 90% |  |  |  | 93%
R-4 to R-7 |  |  | Leaky |  |  | 82% |  | 2% |  | 79% |  | 1%
|  |  | Average |  |  | 87% |  |  |  | 86%
|  |  | Tight |  |  | 92% |  |  |  | 94%
R-8+ |  |  | Leaky |  |  | 84% |  | 2% |  | 79% |  | 1%
|  |  | Average |  |  | 89% |  |  |  | 87%
|  |  | Tight |  |  | 94% |  |  |  | 94%
Notes:
1: | More than 50% of the ductwork for each unit must be in unconditioned space to qualify for duct sealing.
2: | All accessible duct work in unconditioned space must be sealed "Tight' and insulated to R-4.
3: | Duct system efficiency is determined separately for heating and cooling systems.
4: | Based on duct location, duct insulation R-value, and leakiness, look up the duct system efficiency in the appropriate table.
5: | For duct systems less than 75% in unconditioned space, add the values listed in the next column.
Rim Joist Insulation
New Insulation Type:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Total Insulated Linear Feet:
Crawl Space Wall Insulation
Wall Height Above Ground: |  |  |  | Below Ground: |  |  | New Insulation Type:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Total Insulated Linear Feet:
Note on E228: Enter foundation wall height above ground in feet
Note on H228: Enter foundation wall height below ground in feet

## Building Envelope Details (2)
Building Envelope - Building Details
Project Number: | [6 empty] | OSS Number:
Air Sealing - Measurements taken with a blower door test. Units to be cubic feet per minute (CFM) at 50 pascals (50CFM)
Material Type (select all that apply): |  |  |  |  | Caulk |  |  | Joint Compound |  |  | One Part Foam
[5 empty] | Weatherstripping |  |  | Other
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Total CFM Reduction: | [11 empty] | 0
Attic Insulation - Blown Cellulose, Blown Fiberglass, or Spray Foam are the only approved materials
Depth of Existing Insulation (inches): | [6 empty] | New Insulation Type:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Total Insulated Area (sqft):
Attic Air Sealing Detail - Check all air sealing work completed as part of the work scope
|  | Top Plates Sealed | [6 empty] | Mechanical Chases Sealed
|  | Plumbing Wet Walls Sealed | [6 empty] | Attic Level Transitions Sealed
|  | Chimney Penetrations Sealed | [6 empty] | Bath Fans Sealed
|  | Recessed Lights Enclosed (Non-ICAT) | [6 empty] | Air Barrier Installed Over Open Cavities
|  | Recessed Lights Sealed (ICAT) | [6 empty] | HVAC Registers Sealed
|  | Attic Accesses Sealed | [6 empty] | Fire Rated Walls Sealed
|  | Drop Soffit Areas Sealed | [6 empty] | Knee Wall Transition Bypass Sealed
Notes - Describe any unusual conditions:
Duct Sealing - More than 50% of the ductwork for each unit must be in unconditioned space and sealed "Tight" to R4
|  | Heating | [5 empty] | Cooling
Unit # |  | Before |  | After |  | Improvement |  | Before |  | After |  | Improvement
Total Number of Units
Distribution Efficiency
Attic | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 69% |  | 6% |  | 61% |  | 4%
|  |  | Average |  |  | 73% |  |  |  | 64%
|  |  | Tight |  |  | 77% |  |  |  | 73%
Up to R-3 |  |  | Leaky |  |  | 76% |  | 4% |  | 65% |  | 4%
|  |  | Average |  |  | 82% |  |  |  | 74%
|  |  | Tight |  |  | 87% |  |  |  | 84%
R-4 to R-7 |  |  | Leaky |  |  | 79% |  | 3% |  | 67% |  | 3%
|  |  | Average |  |  | 84% |  |  |  | 77%
|  |  | Tight |  |  | 90% |  |  |  | 87%
R-8+ |  |  | Leaky |  |  | 80% |  | 2% |  | 69% |  | 2%
|  |  | Average |  |  | 86% |  |  |  | 79%
|  |  | Tight |  |  | 92% |  |  |  | 90%
Unconditioned Basement | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 93% |  | 2% |  | 81% |  | 2%
|  |  | Average |  |  | 94% |  |  |  | 87%
|  |  | Tight |  |  | 95% |  |  |  | 94%
Up to R-3 |  |  | Leaky |  |  | 94% |  | 1% |  | 83% |  | 1%
|  |  | Average |  |  | 96% |  |  |  | 88%
|  |  | Tight |  |  | 97% |  |  |  | 95%
R-4 to R-7 |  |  | Leaky |  |  | 95% |  | 1% |  | 83% |  | 1%
|  |  | Average |  |  | 96% |  |  |  | 89%
|  |  | Tight |  |  | 98% |  |  |  | 95%
R-8+ |  |  | Leaky |  |  | 95% |  | 0% |  | 83% |  | 0%
|  |  | Average |  |  | 97% |  |  |  | 89%
|  |  | Tight |  |  | 98% |  |  |  | 95%
Vented Crawl Space | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 74% |  | 6% |  | 76% |  | 3%
|  |  | Average |  |  | 78% |  |  |  | 83%
|  |  | Tight |  |  | 82% |  |  |  | 91%
Up to R-3 |  |  | Leaky |  |  | 80% |  | 3% |  | 78% |  | 2%
|  |  | Average |  |  | 85% |  |  |  | 85%
|  |  | Tight |  |  | 90% |  |  |  | 93%
R-4 to R-7 |  |  | Leaky |  |  | 82% |  | 2% |  | 79% |  | 1%
|  |  | Average |  |  | 87% |  |  |  | 86%
|  |  | Tight |  |  | 92% |  |  |  | 94%
R-8+ |  |  | Leaky |  |  | 84% |  | 2% |  | 79% |  | 1%
|  |  | Average |  |  | 89% |  |  |  | 87%
|  |  | Tight |  |  | 94% |  |  |  | 94%
Notes:
1: | More than 50% of the ductwork for each unit must be in unconditioned space to qualify for duct sealing.
2: | All accessible duct work in unconditioned space must be sealed "Tight' and insulated to R-4.
3: | Duct system efficiency is determined separately for heating and cooling systems.
4: | Based on duct location, duct insulation R-value, and leakiness, look up the duct system efficiency in the appropriate table.
5: | For duct systems less than 75% in unconditioned space, add the values listed in the next column.
Wall Insulation
Percentage of Wall at Existing R-Value: | [6 empty] | New Insulation Type:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Total Insulated Area (sqft): | [11 empty] | 0
Duct Sealing - More than 50% of the ductwork for each unit must be in unconditioned space and sealed "Tight" to R4
|  | Heating | [5 empty] | Cooling
Unit # |  | Before |  | After |  | Improvement |  | Before |  | After |  | Improvement
Total Number of Units
Distribution Efficiency
Attic | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 69% |  | 6% |  | 61% |  | 4%
|  |  | Average |  |  | 73% |  |  |  | 64%
|  |  | Tight |  |  | 77% |  |  |  | 73%
Up to R-3 |  |  | Leaky |  |  | 76% |  | 4% |  | 65% |  | 4%
|  |  | Average |  |  | 82% |  |  |  | 74%
|  |  | Tight |  |  | 87% |  |  |  | 84%
R-4 to R-7 |  |  | Leaky |  |  | 79% |  | 3% |  | 67% |  | 3%
|  |  | Average |  |  | 84% |  |  |  | 77%
|  |  | Tight |  |  | 90% |  |  |  | 87%
R-8+ |  |  | Leaky |  |  | 80% |  | 2% |  | 69% |  | 2%
|  |  | Average |  |  | 86% |  |  |  | 79%
|  |  | Tight |  |  | 92% |  |  |  | 90%
Unconditioned Basement | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 93% |  | 2% |  | 81% |  | 2%
|  |  | Average |  |  | 94% |  |  |  | 87%
|  |  | Tight |  |  | 95% |  |  |  | 94%
Up to R-3 |  |  | Leaky |  |  | 94% |  | 1% |  | 83% |  | 1%
|  |  | Average |  |  | 96% |  |  |  | 88%
|  |  | Tight |  |  | 97% |  |  |  | 95%
R-4 to R-7 |  |  | Leaky |  |  | 95% |  | 1% |  | 83% |  | 1%
|  |  | Average |  |  | 96% |  |  |  | 89%
|  |  | Tight |  |  | 98% |  |  |  | 95%
R-8+ |  |  | Leaky |  |  | 95% |  | 0% |  | 83% |  | 0%
|  |  | Average |  |  | 97% |  |  |  | 89%
|  |  | Tight |  |  | 98% |  |  |  | 95%
Vented Crawl Space | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 74% |  | 6% |  | 76% |  | 3%
|  |  | Average |  |  | 78% |  |  |  | 83%
|  |  | Tight |  |  | 82% |  |  |  | 91%
Up to R-3 |  |  | Leaky |  |  | 80% |  | 3% |  | 78% |  | 2%
|  |  | Average |  |  | 85% |  |  |  | 85%
|  |  | Tight |  |  | 90% |  |  |  | 93%
R-4 to R-7 |  |  | Leaky |  |  | 82% |  | 2% |  | 79% |  | 1%
|  |  | Average |  |  | 87% |  |  |  | 86%
|  |  | Tight |  |  | 92% |  |  |  | 94%
R-8+ |  |  | Leaky |  |  | 84% |  | 2% |  | 79% |  | 1%
|  |  | Average |  |  | 89% |  |  |  | 87%
|  |  | Tight |  |  | 94% |  |  |  | 94%
Notes:
1: | More than 50% of the ductwork for each unit must be in unconditioned space to qualify for duct sealing.
2: | All accessible duct work in unconditioned space must be sealed "Tight' and insulated to R-4.
3: | Duct system efficiency is determined separately for heating and cooling systems.
4: | Based on duct location, duct insulation R-value, and leakiness, look up the duct system efficiency in the appropriate table.
5: | For duct systems less than 75% in unconditioned space, add the values listed in the next column.
Rim Joist Insulation
New Insulation Type:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Total Insulated Linear Feet: | [11 empty] | 0
Crawl Space Wall Insulation
Wall Height Above Ground: |  |  |  | Below Ground: |  |  | New Insulation Type:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Total Insulated Linear Feet: | [11 empty] | 0
Note on E228: Enter foundation wall height above ground in feet
Note on H228: Enter foundation wall height below ground in feet

## Building Envelope Details (3)
Building Envelope - Building Details
Project Number: | [6 empty] | OSS Number:
Air Sealing - Measurements taken with a blower door test. Units to be cubic feet per minute (CFM) at 50 pascals (50CFM)
Material Type (select all that apply): |  |  |  |  | Caulk |  |  | Joint Compound |  |  | One Part Foam
[5 empty] | Weatherstripping |  |  | Other
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Location: |  |  |  | Pre CFM50: |  |  | Post CFM50: |  |  | Reduction:
Total CFM Reduction: | [11 empty] | 0
Attic Insulation - Blown Cellulose, Blown Fiberglass, or Spray Foam are the only approved materials
Depth of Existing Insulation (inches): | [6 empty] | New Insulation Type:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Total Insulated Area (sqft):
Attic Air Sealing Detail - Check all air sealing work completed as part of the work scope
|  | Top Plates Sealed | [6 empty] | Mechanical Chases Sealed
|  | Plumbing Wet Walls Sealed | [6 empty] | Attic Level Transitions Sealed
|  | Chimney Penetrations Sealed | [6 empty] | Bath Fans Sealed
|  | Recessed Lights Enclosed (Non-ICAT) | [6 empty] | Air Barrier Installed Over Open Cavities
|  | Recessed Lights Sealed (ICAT) | [6 empty] | HVAC Registers Sealed
|  | Attic Accesses Sealed | [6 empty] | Fire Rated Walls Sealed
|  | Drop Soffit Areas Sealed | [6 empty] | Knee Wall Transition Bypass Sealed
Notes - Describe any unusual conditions:
Duct Sealing - More than 50% of the ductwork for each unit must be in unconditioned space and sealed "Tight" to R4
|  | Heating | [5 empty] | Cooling
Unit # |  | Before |  | After |  | Improvement |  | Before |  | After |  | Improvement
Total Number of Units
Distribution Efficiency
Attic | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 69% |  | 6% |  | 61% |  | 4%
|  |  | Average |  |  | 73% |  |  |  | 64%
|  |  | Tight |  |  | 77% |  |  |  | 73%
Up to R-3 |  |  | Leaky |  |  | 76% |  | 4% |  | 65% |  | 4%
|  |  | Average |  |  | 82% |  |  |  | 74%
|  |  | Tight |  |  | 87% |  |  |  | 84%
R-4 to R-7 |  |  | Leaky |  |  | 79% |  | 3% |  | 67% |  | 3%
|  |  | Average |  |  | 84% |  |  |  | 77%
|  |  | Tight |  |  | 90% |  |  |  | 87%
R-8+ |  |  | Leaky |  |  | 80% |  | 2% |  | 69% |  | 2%
|  |  | Average |  |  | 86% |  |  |  | 79%
|  |  | Tight |  |  | 92% |  |  |  | 90%
Unconditioned Basement | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 93% |  | 2% |  | 81% |  | 2%
|  |  | Average |  |  | 94% |  |  |  | 87%
|  |  | Tight |  |  | 95% |  |  |  | 94%
Up to R-3 |  |  | Leaky |  |  | 94% |  | 1% |  | 83% |  | 1%
|  |  | Average |  |  | 96% |  |  |  | 88%
|  |  | Tight |  |  | 97% |  |  |  | 95%
R-4 to R-7 |  |  | Leaky |  |  | 95% |  | 1% |  | 83% |  | 1%
|  |  | Average |  |  | 96% |  |  |  | 89%
|  |  | Tight |  |  | 98% |  |  |  | 95%
R-8+ |  |  | Leaky |  |  | 95% |  | 0% |  | 83% |  | 0%
|  |  | Average |  |  | 97% |  |  |  | 89%
|  |  | Tight |  |  | 98% |  |  |  | 95%
Vented Crawl Space | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 74% |  | 6% |  | 76% |  | 3%
|  |  | Average |  |  | 78% |  |  |  | 83%
|  |  | Tight |  |  | 82% |  |  |  | 91%
Up to R-3 |  |  | Leaky |  |  | 80% |  | 3% |  | 78% |  | 2%
|  |  | Average |  |  | 85% |  |  |  | 85%
|  |  | Tight |  |  | 90% |  |  |  | 93%
R-4 to R-7 |  |  | Leaky |  |  | 82% |  | 2% |  | 79% |  | 1%
|  |  | Average |  |  | 87% |  |  |  | 86%
|  |  | Tight |  |  | 92% |  |  |  | 94%
R-8+ |  |  | Leaky |  |  | 84% |  | 2% |  | 79% |  | 1%
|  |  | Average |  |  | 89% |  |  |  | 87%
|  |  | Tight |  |  | 94% |  |  |  | 94%
Notes:
1: | More than 50% of the ductwork for each unit must be in unconditioned space to qualify for duct sealing.
2: | All accessible duct work in unconditioned space must be sealed "Tight' and insulated to R-4.
3: | Duct system efficiency is determined separately for heating and cooling systems.
4: | Based on duct location, duct insulation R-value, and leakiness, look up the duct system efficiency in the appropriate table.
5: | For duct systems less than 75% in unconditioned space, add the values listed in the next column.
Wall Insulation
Percentage of Wall at Existing R-Value: | [6 empty] | New Insulation Type:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Area (sqft):
Total Insulated Area (sqft): | [11 empty] | 0
Duct Sealing - More than 50% of the ductwork for each unit must be in unconditioned space and sealed "Tight" to R4
|  | Heating | [5 empty] | Cooling
Unit # |  | Before |  | After |  | Improvement |  | Before |  | After |  | Improvement
Total Number of Units
Distribution Efficiency
Attic | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 69% |  | 6% |  | 61% |  | 4%
|  |  | Average |  |  | 73% |  |  |  | 64%
|  |  | Tight |  |  | 77% |  |  |  | 73%
Up to R-3 |  |  | Leaky |  |  | 76% |  | 4% |  | 65% |  | 4%
|  |  | Average |  |  | 82% |  |  |  | 74%
|  |  | Tight |  |  | 87% |  |  |  | 84%
R-4 to R-7 |  |  | Leaky |  |  | 79% |  | 3% |  | 67% |  | 3%
|  |  | Average |  |  | 84% |  |  |  | 77%
|  |  | Tight |  |  | 90% |  |  |  | 87%
R-8+ |  |  | Leaky |  |  | 80% |  | 2% |  | 69% |  | 2%
|  |  | Average |  |  | 86% |  |  |  | 79%
|  |  | Tight |  |  | 92% |  |  |  | 90%
Unconditioned Basement | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 93% |  | 2% |  | 81% |  | 2%
|  |  | Average |  |  | 94% |  |  |  | 87%
|  |  | Tight |  |  | 95% |  |  |  | 94%
Up to R-3 |  |  | Leaky |  |  | 94% |  | 1% |  | 83% |  | 1%
|  |  | Average |  |  | 96% |  |  |  | 88%
|  |  | Tight |  |  | 97% |  |  |  | 95%
R-4 to R-7 |  |  | Leaky |  |  | 95% |  | 1% |  | 83% |  | 1%
|  |  | Average |  |  | 96% |  |  |  | 89%
|  |  | Tight |  |  | 98% |  |  |  | 95%
R-8+ |  |  | Leaky |  |  | 95% |  | 0% |  | 83% |  | 0%
|  |  | Average |  |  | 97% |  |  |  | 89%
|  |  | Tight |  |  | 98% |  |  |  | 95%
Vented Crawl Space | [5 empty] | Heating |  | Add if |  | Cooling |  | Add if
[6 empty] | CZ4-5 |  | <75% Uncond. |  | CZ4-5 |  | <75% Uncond.
R-0 |  |  | Leaky |  |  | 74% |  | 6% |  | 76% |  | 3%
|  |  | Average |  |  | 78% |  |  |  | 83%
|  |  | Tight |  |  | 82% |  |  |  | 91%
Up to R-3 |  |  | Leaky |  |  | 80% |  | 3% |  | 78% |  | 2%
|  |  | Average |  |  | 85% |  |  |  | 85%
|  |  | Tight |  |  | 90% |  |  |  | 93%
R-4 to R-7 |  |  | Leaky |  |  | 82% |  | 2% |  | 79% |  | 1%
|  |  | Average |  |  | 87% |  |  |  | 86%
|  |  | Tight |  |  | 92% |  |  |  | 94%
R-8+ |  |  | Leaky |  |  | 84% |  | 2% |  | 79% |  | 1%
|  |  | Average |  |  | 89% |  |  |  | 87%
|  |  | Tight |  |  | 94% |  |  |  | 94%
Notes:
1: | More than 50% of the ductwork for each unit must be in unconditioned space to qualify for duct sealing.
2: | All accessible duct work in unconditioned space must be sealed "Tight' and insulated to R-4.
3: | Duct system efficiency is determined separately for heating and cooling systems.
4: | Based on duct location, duct insulation R-value, and leakiness, look up the duct system efficiency in the appropriate table.
5: | For duct systems less than 75% in unconditioned space, add the values listed in the next column.
Rim Joist Insulation
New Insulation Type:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Total Insulated Linear Feet: | [11 empty] | 0
Crawl Space Wall Insulation
Wall Height Above Ground: |  |  |  | Below Ground: |  |  | New Insulation Type:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Location: |  |  |  | Pre R-Value: |  |  | Post R-Value: |  |  | Linear Feet:
Total Insulated Linear Feet: | [11 empty] | 0
Note on E228: Enter foundation wall height above ground in feet
Note on H228: Enter foundation wall height below ground in feet

## Inspection Disclaimer Form
AMEREN ILLINOIS ENERGY EFFICIENCY PROGRAM
Energy Audit Inspection Disclaimers
Please complete the application, provide a copy to the customer, attach required documentation and send it to the following email address: IllinoisMultifamilyEE@ameren.com. All projects will receive a reservation number via email. The reservation number is required prior to project start date. All program paperwork must be submitted within 30 days of the project completion or by December 15, 2026, whichever comes first.
SECTION 1: CUSTOMER INFORMATION
Name: | [5 empty] | Primary Phone: | [5 empty] | Assessment Date
Address: | [5 empty] | City: | [5 empty] | IL |  | Zip Code:
Email:
SECTION 2: PROGRAM ALLY INFORMATION
Program Ally: | [6 empty] | Email:
Audit Technician: | [6 empty] | Phone:
SECTION 3.1: INSPECTION INFORMATION (Check all applicable areas)
ASBESTOS | [9 empty] | Applicable |  |  |  | Not Applicable
The following suspected Asbestos Containing Materials (ACMs) were identified in your home. It is important to understand that it is not possible to determine if a material has asbestos without professional testing and for this reason all possible ACMs must be treated as if it contains asbestos. This may disqualify your home from participation in the Ameren Illinois Energy Efficiency Program; however, proper precautions must be taken to ensure the suspect ACMs will not be disturbed. As a result, any measure that would result in work taking place in an area with suspect ACMs or that could disturb the asbestos is not allowed. For more information regarding asbestos, please visit www.epa.gov/asbestos and refer to “Suspect ACM White Paper”.
| Vermiculite |  |  | Location:
| Suspect Asbestos Siding |  |  | Location:
| Suspect Asbestos Duct Wrap and/or Flue Pipe |  |  | Location:
| Other: |  |  | Location:
COMBUSTION SAFETY INSPECTION | [9 empty] | Applicable |  |  |  | Not Applicable
A combustion safety inspection was performed on your home to identify potential health and safety concerns. The testing was conducted in accordance with the Building Performance Institute ANSI/BPI-1200-S standard. The following combustion safety conditions were identified:
| Ambient Combustible Fuel Gas is greater than 10% Lower Explosive Limit (LEL) | [7 empty] | Carbon Monoxide detector is missing or inoperable
| Combustible Fuel Lines register a potential gas leak | [7 empty] | Ameren Illinois Gas Leak procedure was enacted
| Ambient Carbon Monoxide (CO) is between 36-69 PPM | [7 empty] | Ambient Carbon Monoxide (CO) is greater than 69 PPM
Visual Inspection of the Combustion Appliance Zone (CAZ) has revealed the following:
| Appliance Spillage (Back drafting) |  | Location 1: | [5 empty] | Location 2:
| High Undiluted Carbon Monoxide (CO) at Appliance(s) |  | Location 1: | [5 empty] | Limit: |  |  | Measurement (PPM):
|  |  | Location 2: | [5 empty] | Limit: |  |  | Measurement (PPM):
Gas Oven has a Carbon Monoxide (CO) reading of greater than 225 parts per million (PPM); service required prior to building envelope work
Unvented gas heater that does not comply with ANSI Z21.11.2. This appliance needs to be removed prior to building envelope work.
Notes:
These issues can cause potentially life threatening or hazardous situations. You are not eligible for Home Efficiency Program incentives for building envelope measures until these combustion safety issues are resolved by a qualified service technician. The service technician must leave a written certification that all combustion safety issues in your home are resolved. This must include (in writing) undiluted CO and draft test results indicating that the issue has been resolved per Building Performance Institute standards. This documentation must be emailed to the email address at the top of this form.
SECTION 3.2: INSPECTION INFORMATION (Check all applicable areas)
ATTIC ELECTRICAL | [9 empty] | Applicable |  |  |  | Not Applicable
Attic has exposed wiring junctions, open junction boxes, or fixtures that need to be properly sealed for building envelope work to proceed.
KNOB & TUBE WIRING | [9 empty] | Applicable |  |  |  | Not Applicable
Evidence of Knob & Tube wiring has been observed in the following locations: | [7 empty] | Attic |  | Walls |  | Basement
Indications of “knob and tube” wiring were discovered. This old style of wiring involves individual wires that are run through walls and ceilings in a house, with ceramic “knobs” and “tubes” to prevent contact with wood framing. The knob and tube wiring that has been noted may or may not appear to be active. Even if the observed wiring appears to be inactive, there may still be active knob and tube circuits hidden inside walls or other inaccessible areas of the house. Program guidelines require that you must have the home checked by a licensed electrician and certified as being free of any and all active knob and tube wiring, before insulation and/or air sealing work can be done. Your licensed electrician will need to certify in writing the absence of any knob and tube wiring by filling out and submitting a signed copy of this document to the Home Efficiency Program in order to verify the absence or inactivity of the knob and tube wiring in the areas of your home where we are proposing insulation to be installed. Due to the liability involved in signing such a form, we suggest you show or describe this form to your electrician before hiring him to inspect your home to be sure he / she is willing to sign it. (Any additions, deletions or other alterations will render this form invalid).
IMPORTANT: The completed certification form at the end of this document MUST be received by the Home Efficiency Program at the address listed below before a Contract is issued for energy-saving insulation and/or air sealing work.
MOISTURE RELATED ISSUES | [9 empty] | Applicable |  |  |  | Not Applicable
There are exterior bulk moisture concerns related to the following items (examples: gutter, grading, roofing, siding)
Describe:
There is standing water observed in the following areas (examples: crawl space, basement)
Describe:
There are other moisture concerns in the following areas (examples: open sump pit, leaking plumbing, dryer venting)
Describe:
All water related issues; leaking roofs, standing water in the crawl space, water leaks in the basement, for example (there are additional issues that are to numerous to include in this document) must be corrected before any work can be started on the home.
MOLD-LIKE SUBSTANCE | [9 empty] | Applicable |  |  |  | Not Applicable
A mold-like substance has been found in one or more areas of your home. Mold is an organic substance that has been shown to cause adverse health effects in some individuals.
When a mold-like substance is found to be present in an area of your home and it exceeds an area greater than 10 square feet, your home is not eligible for financial incentives from the Ameren Illinois Energy Efficiency programs until one of the following conditions has been met: 1. An experienced professional contractor has remediated the mold and has attested to its remediation in writing. 2. An experienced professional contractor has determined that the substance is not mold and does not need to be remediated and has attested to this determination in writing. Your experienced professional contractor must fill out and sign the statement below. Due to the liability involved in signing such a statement, it is suggested you show or describe this form to your experienced professional contractor before hiring them to be sure that they are willing to sign it. Any additions, deletions, or other alterations will render this form invalid. For a mold-like substance less than 10 square feet, your home is not eligible for financial incentives. For more information please visit http://www.epa.gov/mold
| The mold-like substance is greater than 10 square feet (professional remediation required) | [8 empty] | The mold-like substance is 10 square feet or less
IMPORTANT: The completed certification form at the end of this document MUST be received by the Home Efficiency Program at the address listed below before a Contract is issued for energy-saving insulation and/or air sealing work.
STORAGE REMOVAL | [9 empty] | Applicable |  |  |  | Not Applicable
It has been determined your attic space would benefit from adding blown-in fiber insulation to your attic floor. The process of blowing in fibrous insulation in your attic will create dust which may accumulate on storage located in that area. Please take the necessary actions listed below before the insulation work commences:
Storage Removal: You must remove your storage and relocate it to a new permanent location, so that the entire attic area can be insulated and air sealed. You will not be left with a storage area after insulation work has been completed.
Knee Wall Storage: You must temporarily relocate your storage so that the Program Ally has total access to this area to complete the recommended insulation upgrades. Your storage can later be put back into this area after the Program Ally has completed the work.
Condense Storage: You must condense your storage to an area in the attic that has been determined by you and your Program Ally. This will allow for the entire attic to be insulated and/or air sealed, except for the area that you want to leave for your condensed storage. If you plan on leaving your condensed storage in the attic during the installation of the blown cellulose insulation, you will need to cover this storage if you don’t want dust to accumulate on your storage items.
Platform Build Up: If you are interested in having your entire attic insulated and you still want to leave your storage in the attic, you can build a raised platform in your attic that will be higher than the insulation that will be blown. This will allow you put your storage back on top of the platform without compressing the insulation that would result in compromising the R-value of the new blown-in insulation.
SECTION 3.3: INSPECTION INFORMATION (Check all applicable areas)
INTERIOR DENSE PACK "DRILL AND BLOW" | [9 empty] | Applicable |  |  |  | Not Applicable
It has been determined your home would benefit from having fiber insulation blown into your walls or “interior drill and blow." Interior drill and blow requires holes to be drilled from the inside of the living space and can be a very intrusive and dusty process. To ensure that this job goes smoothly, you (the homeowner) must ensure that all furniture and any clothing located in adjacent areas to the exterior walls (that are being treated) must be moved away from those walls and covered with plastic prior to commencement of the job for that day. Once the insulation is blown in, the contractor’s responsibility will be to plug the access holes and treat the surface with an initial application of spackle/filler. The homeowner is responsible for any additional work to the treated areas, including cleaning, dusting and painting to achieve the desired finished conditions unless other wise specified. Please sign below in recognition of having been fully informed of the work and possible inconvenience caused by the interior drill and blow process.
By checking the box and signing below you acknowledge the disclaimers, as described above, exist in your home, you have been informed of the situation, and you agree to hold Ameren Illinois, and its subcontractors harmless. Ameren Illinois expressly disclaims any and all warranties or representations of any kind, whether oral, statutory, expressed or implied, including without limitation warranties of suitability or fitness. This notice does not constitute an endorsement or warranty regarding the presence or absence of other real or potential health and safety hazards that may exist at this address or on the premises.
Customer Signature: | [12 empty] | Date:
Program Ally Signature: | [12 empty] | Date:
Special Note: Form must be submitted completely and accurately and must be approved prior to work beginning. If approval is not received prior to work beginning, the incentive will not be paid. The form should be emailed to: ResidentialEEApplications@ameren.com. The subject line and file name must read: Program Ally Name_Homeowner Last Name_Homeowner First Name_ Program Name (Ex: Insulators Inc_Jones_Mary). The reservation number will be emailed to you at the address listed above. The reservation number is not transferable and must be provided on all incentive forms. If the customer decides not to participate in the program, please email us immediately.
SECTION 4: PROOF OF REMEDIATION
KNOB AND TUBE REMEDIATION
Electrician's Printed Name: | [9 empty] | License #:
I have performed an inspection of the home located at the below address and upon completion of my inspection, I have found that there is no active knob and tube wiring in the initialed area(s):
|  | Attic: |  |  | Walls: |  |  | Basement:
Address: | [5 empty] | City: |  |  |  |  | IL | Zip Code:
Signature of the Electrician: | [13 empty] | Date:
MOLD REMEDIATION
Certified Remediation Company: | [9 empty] | License #:
Inspecting Agent Printed Name:
I have performed an inspection of the home located at the below address and upon completion of my inspection, I have found that all mold has been remediated.
Address: | [5 empty] | City: |  |  |  |  | IL | Zip Code:
Signature of Inspecting Agent: | [13 empty] | Date:
MULTIFAMILY INITIAITIVE
Program Ally Agreement ("Agreement")
AMEREN ILLINOIS ENERGY EFFICIENCY PROGRAM TERMS AND CONDITIONS ("Terms and Conditions")
As part of a Program Ally’s participation in the Ameren Illinois Energy Efficiency Residential Program's Initiatives and Channels, Ameren Illinois requires adherence to this Agreement as detailed below. This Agreement ensures both the Residential Program Initiative/Channels and participating Program Ally clearly agree with the expectations of Ameren Illinois and its high standards of integrity, safety and customer service.
1. Definitions – In addition to terms defined elsewhere herein, when any one of the following terms is used in these Terms and Conditions, wherein the first letter is written with a capital letter, then that term shall have the following definition. Words importing persons include corporation, and words importing only the singular include the plural and vice versa when the context requires. a) “Ameren Illinois” shall mean Ameren Illinois Company. b) “Prime Implementer” shall mean Leidos Engineering, LLC that has been selected by Ameren Illinois to administer and oversee the Ameren Illinois Energy Efficiency Program. c) “Program Ally” shall mean contractors/ allies who have met the minimum qualifications established by Ameren Illinois and the Prime Implementer and are allowed to offer program incentives and perform services associated with the Program. d) “Application” shall mean the Customer or Program Ally completed document used to apply for cash incentives or used for any other appropriate application-specific documentation. e) “Customer” shall mean an Eligible Customer who has submitted an Application for incentive money using their Ameren Illinois account number. f) “Eligible Customer” shall mean a residential customer of Ameren Illinois, with an active Ameren Illinois-delivered electric or gas account residing in an existing home, new construction, or commercial facility. The Application must be filled out completely and accurately, signed and accompanied by dated copies of the invoices. See the project/measure eligibility for requirements specific to individual incentives. g) “Program” shall mean the Ameren Illinois Energy Efficiency Program and the plan or measure that is the subject of an Application. h) “Program Manager” shall mean the Prime Implementer designee in charge of the Program. i) “Pre-approval” shall mean written notification via a pre-approval notification to the Program Ally that Ameren Illinois or Prime Implementer has reviewed Customer's Application and determined that the project meets the program eligibility requirements for a maximum pre-approved incentive amount if the project is completed with all final application paperwork submitted and approved.
2. General – Program Ally shall abide by these Terms and Conditions and by all local, state and federal guidelines, applicable laws, building codes, regulations and licensing requirements; and perform work in accordance with customary installation standards, and/or according to manufacturer specifications.
3. Procedures & Reporting – Program Ally shall follow Program procedures of; a) verifying eligibility of Customer and work to be performed; b) reserving funds from Program in advance of the project commencing by submitting an Application/Assessment supplied by the Program for work performed with all required documentation. Program Ally agrees to timely provide all documentation associated with specified projects for quality assurance. Program Ally must provide necessary supporting documentation of services rendered including invoices and site assessment reports as requested.
4. Independent Contractor – Listing in the Program Ally database does not constitute any endorsement of the Program Ally by Ameren Illinois or the Prime Implementer. Program Ally is an independent contractor participating in the Program and not an employee of, or under contract to, Ameren Illinois, the Prime Implementer or Program staff and authorized Ameren Representatives. Program Ally is not authorized to assume or create any obligation or liabilities, express or implied, on behalf of or in the name of Ameren Illinois, the Prime Implementer or Program staff and authorized Ameren Representatives. Program Ally shall properly represent this to the Customer. Failure to do so shall be considered a breach of the terms of this Agreement.
5. Warrantyof Work – Program Ally shall provide the Customer a written warranty covering installation labor for a minimum of one year from the date the services are performed. Program Ally shall provide proof of purchase documentation to Customer for all installed, qualifying energy efficiency measures to support future manufacturer’s warranty claims by Customer. Offers of, and documentation referring to, any applicable extended warranty coverage shall be supplied to the Customer by Program Ally, if applicable.
6. Quality Assurance – Program Ally will maintain effective procedures for quality assurance as for resolution of Customer complaints or disputes and for response to Customer emergencies. Program Ally agrees to make its quality assurance procedures available to the Program for review upon request. Only trained and skilled personnel of Program Ally shall supervise any project performed under the Program. All work is subject to quality assurance and verification inspections by Program before incentive payments are paid. The Program Manager is the sole authority in determining that the work is complete and eligible for payment. If the applicable Program Manager determines the Program Ally’s work is not up to Program standards, upon request from the Program representative, Program Ally shall make reasonable repairs or corrections to bring such work up to Program standards at no additional cost to the Customer. Program Manager shall have sole authority in determining the necessary remedies to correct faulty work.
7. Pre and Post Installation Verification – Ameren Illinois and the Prime Implementer are not obligated to make any incentive payment until it has performed a satisfactory post-installation verification and received all relevant documentation. This provision may be waived at the sole discretion of Ameren Illinois or the Prime Implementer. Inspections conducted are solely for the purpose of determining Program compliance and are not safety or building code inspections.
8. Incentive Payments/Limits – For all Applications, Ameren Illinois and the Prime Implementer are not obligated to award any incentive payment unless a reservation form and/or Application is submitted and granted (Pre-approval). Pre-approval reserves incentive funds for a period up to the estimated completion date provided in the Pre-approval notification. Customer and Program Ally are responsible for ensuring the Application is accurate and equipment meets eligibility requirements to receive the Pre-approval notification. The Program Ally shall inform Customer of Program financial incentives and shall include a discount to the Customer in the amount of the incentive, labeled on Customer’s invoice as “Ameren Illinois Energy Efficiency Program Incentive.” Any incentive payments not credited toward the Customer’s invoice may require the issuance of a 1099 to the Program Ally.
9. Program Measures/Product – Program Ally is solely responsible for any measures/product, if any, in its possession that are provided by the Program for installation. Program Ally agrees to return or pay for the measures or products upon request from the Prime Implementer or when it ceases to function as a Program Ally for the Program.
10. Insurance, License and Certification – Program Ally shall provide proof of the necessary insurance coverages listed below and its Illinois Commerce Commission (ICC) Certified Installer status, if applicable. Program Ally must have a valid contractor’s license to perform work under the Program, as required. Insurance coverage requirements that meet or exceed the following minimum requirements: • Commercial General Liability insurance with respect to the services contemplated by any agreement, specifically including, without limitation, contractual liability insurance to cover liability assumed by Program Ally with combined limits, per occurrence, of not less than $1,000,000 for bodily injury, including death and property damage. Coverage shall include completed operations coverage for a period not less than 12 months following completion of the project. • Workers Compensation insurance with statutory limits and employer’s liability insurance. • Comprehensive Auto liability insurance which has a minimum combined single limit for bodily injury and property damage of $1,000,000 per occurrence. The Comprehensive Auto Liability policy shall include owned and blanket non-owned and hired coverage. • Name of certificate holder: Ameren Illinois 300 Liberty Street Peoria, IL 61602
11. Safety – Program Ally shall comply with all federal, state and local laws and regulations pertaining to health, safety, sanitary facilities and waste disposal. Program Ally shall meet all requirements of the Occupational Safety and Health Act of 1970 (OSHA) including all amendments. Additionally, the Program Ally is responsible to comply with any Program requirements.
12. Data – Any data collected from the Customer by the Program Ally in the performance of services under this Agreement that are not stored with the Energy Efficiency program data repository is the sole responsibility of the Program Ally including but not limited to email communication, data collection and file storage.
13. Indemnification – Program Ally hereby releases and shall indemnify, hold harmless, and defend Ameren Illinois, the Prime Implementer, and their respective affiliates, subsidiaries, parent companies, officers, directors, agents, subcontractors, and employees (collectively, “Indemnified Parties”) from any and all claims, losses, harms, costs, liabilities, damages, and expenses (including attorney’s fees) of any nature whatsoever arising directly or indirectly out of or in connection within any dispute or legal suit arising from work related to the Program unless the claims or suits are caused solely by the action or inaction of the Indemnified Parties. In no event shall any of the Indemnified Parties be liable for any punitive, exemplary, special, indirect, incidental or consequential damages (including but not limited to, lost profits, lost business opportunities, loss of use or equipment down time, and loss of or corruption to data) arising out of or relating to the Program, regardless of legal theory under which such damages are sought.
14. Limitation of Liability – Ameren Illinois and the Prime Implementer’s total liability to Program Ally under these Terms and Conditions shall be limited to payment of the amount of the incentive payments due to the Program Ally as authorized in the Pre-approval.
15. Changes In/Cancellation of the Program – a) Ameren Illinois and/or the Prime Implementer may change the program requirements, incentives, or these Terms and Conditions at any time without notice, including suspending acceptance of Applications, denial of Applications already received but not pre-approved, or terminating the Program. b) In the event of a program change, Applications that have been granted Pre-approval will be processed to completion under the Terms and Conditions in effect at the time of the Pre-approval. c) Cash incentives under the Ameren Illinois Program are offered on a first-come, first-served basis and are subject to project and Customer eligibility, and the availability of funds.
16. Violation of the Agreement – Suspected violations of any provision of this Agreement will be reviewed and addressed as appropriate. When a violation of the Agreement has been identified, it may constitute a breach of the Agreement resulting in disciplinary action, including suspension or termination from the work under the Program.
17. Termination - Participation in the Program is voluntary and may be terminated by either party at any time, with or without cause for any reason without penalty.
18. Marketing - All marketing practices, material and co-branded representation must receive written approval by Program Staff prior to use and are subject to review at any point. This includes strict adherence to the Program’s co-branding requirements, which will be provided upon your enrollment.
19. Conduct – Program Ally shall maintain high standards of integrity in work practices and communication with regard to Customers, Ameren Illinois, Program Staff or other Program Allies. Disparaging, inaccurate or inappropriate remarks regarding the foregoing are prohibited.
20. Miscellaneous – Ameren Illinois and the Prime Implementer reserve the right to make changes to the Program, program incentives, rules, guidelines, and these Terms and Conditions upon written notice to the Program Ally. These Terms and Conditions shall be governed by Illinois law.
General Inquiries: Ameren Illinois Energy Efficiency Program• 300 Liberty St, 5th Floor, Peoria, IL 61602 | [10 empty] | Rev. 10/22/2025

## Combustion Safety Form
AMEREN ILLINOIS ENERGY EFFICIENCY PROGRAM
PY2026 Multifamily IQ and Public Housing Building Envelope Measures Combustion Safety Form
Please complete the application, provide a copy to the customer, attach required documentation and send it to the following email address: IllinoisMultifamilyEE@ameren.com. All projects will receive a reservation number via email. The reservation number is required prior to project start date. All program paperwork must be submitted within 30 days of the project completion or by December 15, 2026, whichever comes first.
Project Number: |  |  |  | OSS Number:
Section 1: Property Information
Property Name: |  |  |  | Building Number(s):
Owner/Manager Name: |  |  |  | Title:
Phone: |  |  |  | Email:
Section 2: Program Ally Information
Program Ally Company Name: |  |  |  | Program Ally Contact Name:
Phone: |  |  |  | Email:
Section 3: Unit Inspection - Combustion Appliance Zone (CAZ) testing is required on 100% of units in each building
Attached/Underground Garages
Number of Parking Spaces in Attached/Underground Garage:
Note potential connections to buildings (if applicable):
BPI Certified Tester | Dwelling Unit |  | Unit Has CO Detector | Appliance Type/Name |  |  | CO Reading |  | BPI Action Level
Section 4: Mechanical Room Air Supply and Combustion
Mechanical Room 1 |  | Air supply unobstructed and free:
Air supply complies with NFPA, local code:
Appliances Pass Spillage Test:
Applicance Type/Name |  | Observed Operating Cycle |  | Efficiency Reading |  | CO Reading |  | BPI Action Level
|  |  |  | Pre (%) | Post (%) | Pre (ppm) | Post (ppm)
1:
2:
Mechanical Room 2 |  | Air supply unobstructed and free:
Air supply complies with NFPA, local code:
Appliances Pass Spillage Test:
Applicance Type/Name |  | Observed Operating Cycle |  | Efficiency Reading |  | CO Reading |  | BPI Action Level
|  |  |  | Pre (%) | Post (%) | Pre (ppm) | Post (ppm)
1:
2:
Mechanical Room 3 |  | Air supply unobstructed and free:
Air supply complies with NFPA, local code:
Appliances Pass Spillage Test:
Applicance Type/Name |  | Observed Operating Cycle |  | Efficiency Reading |  | CO Reading |  | BPI Action Level
|  |  |  | Pre (%) | Post (%) | Pre (ppm) | Post (ppm)
1:
2:
Mechanical Room 4 |  | Air supply unobstructed and free:
Air supply complies with NFPA, local code:
Appliances Pass Spillage Test:
Applicance Type/Name |  | Observed Operating Cycle |  | Efficiency Reading |  | CO Reading |  | BPI Action Level
|  |  |  | Pre (%) | Post (%) | Pre (ppm) | Post (ppm)
1:
2:
Notes:
Section 5: Acknowledgement of Completion
I certify the information I have provided is true and correct and the tests performed abide by program guidelines.
Program Ally Signature: | [6 empty] | Date:

## Health & Safety Costs
Energy Efficiency Program
MF IQ and PH Health and Safety Costs Information Form
Please complete all required information and submit this form as an attachment to the Reservation Request
CUSTOMER AND PROGRAM ALLY INFORMATION
Project #: |  |  | OSS #:
Customer Name: |  |  | Date:
Company Name: |  |  | Employee Name:
Not Applicable
HEALTH AND SAFETY COSTS INFORMATION
Location | Health and Safety Measure |  |  |  | Cost
Vapor Barrier
Vent Exhaust Fan Outside
Health and Safety Items Total: |  |  |  |  | 0
Note to allies: MF IQ and PH - Health and Safety costs should not exceed 50% of the total project cost.
General Notes:
I certify the information I have provided is true and correct and any work performed meets the program guidelines and Terms and Conditions of the Program.
Print Customer Name: |  | Customer Signature:
Program Ally Signature: |  |  |  | Date:
PLEASE DIRECT ALL CORRESPONDENCE TO: Ameren Illinois Energy Efficiency Programs PO Box 5098, Peoria IL 61601-9998 Toll-free: 1.866.838.6918 Fax: 1.309.677.7961 AmerenIllinoisSavings.com

## Health & Safety - PY26 Pricing
PY26 Home Efficiency - Health and Safety Items and Pricing
"Not to exceed" prices. It is not required to charge the full amount if the work can be completed for less.
Health & Safety Item | Price | Unit | H&S Item Description | Before Project | During Project | Before or During Project
HVAC System Repair & Replacement - Un-safe operating condition or non-working system
Service calls & diagnostics | * | Each | Directly related to line items 6-10. First step in correction of many H&S related concerns such as, but not limited to: no heat, a/c, related water damage to furnace or surrounding area, spillage, water heater issues, thermostat issues, gas leaks, & carbon monoxide concerns. |  |  | Y
Repair of primary heating source | * | Each | Restore heat and/or correct un-safe condition with heating system |  |  | Y
Repair of primary cooling source | * | Each | Directly relates to the heating system not working properly or water damage to the connected heating system and/or surrounding area, or line set leak. |  |  | Y
Clean indoor evaporator coil | * | Each | Directly relates to the heating system not working properly or water damage to the connected heating system and/or surrounding area. |  |  | Y
Replace indoor evaporator coil | * | Each | Directly relates to the heating system not working properly or water damage to the connected heating system and/or surrounding area. |  |  | Y
Condensate Pump (Plus related items) | * | Each | Correct or prevent water damage issues resulting from improper condensate removal. |  |  | Y
Disclaimer Related
Bulk Moisture - Leads to many issues including but not limited to: mold, degradation of building materials, & IAQ concerns.
Vapor Barrier | 1.3 | Square foot | Prevent communication of ground moisture into building envelope and/or onto building components. |  | Y
Sump pump repair or replacement | 505 | Each | Correct or prevent water accumulation within the building envelope. |  |  | Y
New sump system installation (pit, trenching, & drainage tile) | * | Each/Per Square Foot | Correct or prevent water accumulation within the building envelope. | Y
Horizontal guttering | * | Linear Foot | Correct or prevent water accumulation within the building envelope. Correct and/or prevent water related damage to building components. |  |  | Y
Gutter accessories (downspout & extensions) | * | Linear Foot | Correct or prevent water accumulation within the building envelope. Correct and/or prevent water related damage to building components. |  |  | Y
Exterior water management | * | Case by Case | Correct or prevent water accumulation within the building envelope. Correct and/or prevent water related damage to building components. | Y
Roofing, siding, or other minor exterior work to prevent water from entering building | * | Case by Case | Correct or prevent water accumulation within the building envelope. Correct and/or prevent water related damage to building components. | Y
Drain clearing (typically floor) | * | Each | Correct or prevent water accumulation within the building envelope. Correct and/or prevent water related damage to building components. Sewer back-ups present other H&S related concerns as well. | Y
Minor plumbing repair | * | Each | Correct or prevent water accumulation within the building envelope. Correct and/or prevent water related damage to building components. | Y
Water heater repair | * | Each/ Case by Case | Correct and/or prevent water related damage to building components. |  |  | Y
Water heater replacement | * | Each/ Case by Case | Correct and/or prevent water related damage to building components. Correct an un-safe operating condition or consider when the cost of the initial or multiple repairs are substantially close to replacement cost. |  |  | Y
Confined/Inaccessible Spaces - Access necessary for inspection and/or completion of work.
Horizontal Access 'Standard' | 325 | Each | Includes creating an access and installing an air-tight, insulated, operable door or panel into a horizontal surface such as a ceiling or floor. Includes finish trim or transition, framing, and damming around the opening. Refer to the Building Envelope Field Guide - 4.1.5.2. Damming not required for floor accesses. Floor access insulation not required if crawlspace is/will be encapsulated. | Y
Horizontal Access 'Unique' | * | Each | Includes creating an access in a horizontal surface such as a ceiling or floor. Provide detailed proposal for necessary work. | Y
Vertical Access 'Standard' | 250 | Each | Includes creating an access and installing an air tight, insulated, operable door or panel into a vertical surface such as a wall. Includes finish trim, framing, and damming around the opening. Refer to the Building Envelope Field Guide - 4.1.5.2. | Y
Vertical Access 'Unique' | * | Each | Includes creating an access in a vertical surface such as a wall. Provide detailed proposal for necessary work. | Y
Crawlspace dig out - create enough height for accessibility | * | Each | When necessary for vapor barrier installation & potentially other measures to be completed within the crawlspace. Provide detailed proposal for necessary work. | Y
Asbestos - Duct Wrap and Flue Pipe
Encapsulation and Enclosure (Duct Wrap) | * | Each (or each joint) | Address friable suspect asbestos that could be disturbed during the course of a project. Friable asbestos is known to cause respiratory issues and is a carcinogen. | Y
Remediation | * | Each House | Address friable suspect asbestos that could be disturbed during the course of a project. Friable asbestos is known to cause respiratory issues and is a carcinogen. | Y
Repair from Damaging Incident
Interior pressure boundary surface (ceilings, walls) repair | * | Per Square Foot | Unforeseen damage not attributable to the Program Ally or Program staff. Ensure a safe level of heating/cooling can be maintained. Prevent/stop moisture or pest entry. |  |  | Y
Removal/replacement of existing un-fit (compromised) insulation | * | Per Square Foot/Case by Case | Alleviate potential indoor air quality concerns. Establish a safe environment for those entering spaces containing insulation that is damaged in some way, typically moisture or pest related. Maybe previous mold or fire damage. | Y
Combustion Safety and Fuel Distribution System
Venting system repair & replacement | * | Each | Correct an un-safe operating condition. Ensure combustion appliance exhaust is properly vented outside. |  |  | Y
Flue Liner | 460 | Each | Correct an un-safe operating condition. Ensure combustion appliance exhaust is properly vented outside. |  |  | Y
Draft assist & power venting kits | 865 | Each | Correct an un-safe operating condition. Ensure combustion appliance exhaust is properly vented outside. |  |  | Y
Service Calls & diagnostics | * | Time | Correct an un-safe operating condition. Ensure combustion appliance exhaust is properly vented outside. |  |  | Y
Water heater repair | * | Each/Case by Case | Ensure combustion appliance exhaust is properly vented outside. Correct and/or prevent water related damage to building components. Correct an un-safe operating condition or consider when the cost of the initial or multiple repairs are substantially close to replacement cost. |  |  | Y
Power Vented Water Heater | 3000 | Each | Must be replacement of an existing natural gas water heater that has a qualifying Health & Safety related failure. Energy Star certified - refer to Energy Star Certified Products list on the Program Ally Portal. Sealed Combustion and Installed per manufacturer's installation instructions. Refer to the Available Residential Measures Guide for full specifications. |  |  | Y
Gas Tankless Water Heater | 4700 | Each | Must be replacement of an existing natural gas water heater that has a qualifying Health & Safety related failure. Energy Star certified - refer to Energy Star Certified Products list on the Program Ally Portal. Sealed Combustion and Installed per manufacturer's installation instructions. Refer to the Available Residential Measures Guide for full specifications. |  |  | Y
Work Intended to Reduce Depressurization / Correct back drafting & Spillage / Resolve interior ambient CO concerns
Transfer/passive air grilles | 112 | Each | To alleviate pressure imbalance(s) associated with reducing depressuration to correct or prevent combustion appliance spillage or drafting concerns. Sized per NFPA 54. |  |  | Y
Make up air | 173 | Each or Volume Required | Correct an un-safe operating condition. Ensure combustion appliance exhaust is properly vented outside. |  |  | Y
Combustion air | 173 | Each | Correct an un-safe operating condition. Ensure combustion appliance exhaust is properly vented outside. |  |  | Y
Combustion Safety Testing (non project) | 290 | Each | Validate combustion safety. Address a related concern that develops post project or in the case of no project being eligible for another reason. | Y
Gas leak repair | * | Each | Resolve customer health & safety related concerns attributable to acute or chronic exposure and potential ignition of gas. | Y
Appliance gas line replacement or removal and disposal | * | Each | Resolve customer health & safety related concerns attributable to acute or chronic exposure and potential ignition of gas. | Y
Gas line replacement or removal and disposal | * | Linear Foot | Resolve customer health & safety related concerns attributable to acute or chronic exposure and potential ignition of gas. | Y
Adding shut-off valves where none are existing | * | Each | Establish a way to shut off gas to individual appliances without shutting off gas to whole home when there is a gas leak in the home. |  |  | Y
Carbon Monoxide Alarms | 70 | Each | Provides assurance that customers will be alerted to hazardous CO levels on an on-going basis. |  |  | Y
Ventilation Related
Vent exhaust fan outside | 190 | Each | Remove moisture and indoor air contaminants from the home. Termination of fan vent must penetrate gable-end or roof. Terminating an exhaust fan vent duct at or near roof or gable vents is not permissible. |  | Y
* Consult with your Field Energy Specialist for pricing approval. | [5 empty] | Revised 5/24/2022

## Lists (hidden)
Foundation Types | Insulation Types | Air Source Heat Pump |  | Health and Safety List
Slab on Grade | Blown Cellulose | Multifamily Income Qualified | 500 | Service calls & diagnostics
Basement | Blown Fiberglass | Public Housing | 500 | Repair of primary heating source
Crawlspace | Spray Foam | Market Rate | 500 | Repair of primary cooling source
Garage Under | Fiberglass Batt |  |  | Clean indoor evaporator coil
Other | Foam Board | Pass/Fail |  | Replace indoor evaporator coil
|  | Pass |  | Condensate Pump (Plus related items)
Heating Fuel |  | Fail |  | Vapor Barrier
Natural Gas | Question |  |  | Sump pump repair or replacement
Electric | yes | DHP Incentive |  | New sump system installation (pit, trenching, & drainage tile)
Propane | no | Multifamily Income Qualified | 6500 | Crawlspace dig out - create enough height for accessibility
Other |  | Public Housing | 6500 | Horizontal guttering
| Window AC Type | Market Rate | 2500 | Gutter accessories (downspout & extensions)
Heating System | Side Louvers |  |  | Exterior water management
Forced Air Furnace | Casement-Only |  |  | Roofing, siding, or other minor exterior work to prevent water from entering building
Baseboards | Casement-Slider | Air Sealing Incentive |  | Drain clearing (typically floor)
Boiler |  | Multifamily Income Qualified | 0.95 | Minor plumbing repair
Ducted Heat Pump | Channel | Public Housing | 0.7 | Water heater repair
Ductless Heat Pump | Multifamily Income Qualified | Market Rate | 0 | Water heater replacement
PTAC | Public Housing |  |  | Encapsulation and Enclosure (Duct Wrap)
Space Heaters | Market Rate | Attic Insulation R11 Incentive |  | Remediation
Other |  | Multifamily Income Qualified | 1.9 | Interior pressure boundary surface (ceilings, walls) repair
| CO Detector | Public Housing | 1.9 | Removal/replacement of existing un-fit (compromised) insulation
Cooling Type | Yes | Market Rate | 0 | Venting system repair & replacement
No Cooling System | No |  |  | Draft assist & power venting kits
Central AC |  | Attic Insulation R19 Incentive |  | Service Calls & diagnostics
Window AC | BPI Action Level | Multifamily Income Qualified | 1.55 | Water heater repair/replacement
Ducted Heat Pump | Proceed with work | Public Housing | 1.55 | Transfer/passive air grilles
Ductless Heat Pump | Service call | Market Rate | 0 | Make up air
PTAC | Stop work |  |  | Combustion air
Chiller |  | Attic Insulation R30 Incentive |  | Combustion Safety Testing (non project)
Combination | Toggle | Multifamily Income Qualified | 1.25 | Gas leak repair
Other |  | Public Housing | 1.25 | Appliance gas line replacement or removal and disposal
| X | Market Rate | 0 | Gas line replacement or removal and disposal
Roof Type |  |  |  | Adding shut-off valves where none are existing
Peak |  | Wall Insulation Percentage |  | Carbon Monoxide Alarms
Flat |  | 0% |  | Vent exhaust fan outside
Other |  | < 25%
< 50%
> 50%
> 75%
100%