## INSTRUCTIONS
New Construction Application
Instructions and Important Information
General Instructions:
| 1. | Read the important information contained on this tab
| 2. | Fill in the 'PROJECT INFO' tab first
(At a minimum, to allow proper calculation of incentives, select the appropriate market sector in the 'Facility/Project Description' section of the 'PROJECT INFO' tab)
| 3. | Review the 'SUMMARY' tab to see which energy saving measures could be included in your project
| 4. | Fill in the appropriate equipment tabs for selected measures (Lighting, HVAC, Custom, etc.)
| 5. | Check the 'SUMMARY' tab again to verify incentive amounts
| 6. | Complete the 'AGREEMENT' tab and gather the required documents listed there
| 7. | Submit all required documents, including an Excel version of this application to:
IllinoisBusinessProjects@ameren.com
Does your facility qualify?
| • | Non-residential facility. New construction or significant remodel affecting two or more building systems.
| • | For electric projects: electric delivery service rate DS2, DS3, DS4, DS5, or DS6 and Energy Efficiency Demand Response surcharge on Ameren Illinois bill for the service point corresponding to the electric project. DS5 accounts should discuss with Ameren Illinois’ representatives prior to starting.
| • | For gas projects: gas delivery service rate GDS2, GDS3, GDS4, GDS5, or GDS7 and Energy Efficiency Programs Charge on Ameren Illinois gas bill. GDS1 projects will be considered if there is no other Offering in the Residential or Business Program able to serve the GDS1 customer.
| • | If you are not able to obtain an account number at this phase of your project, please note it is your responsibility as the Ameren Illinois customer to verify the location will be set up with Ameren Illinois delivery service (you may purchase your energy from any source) and to submit the account information to the program as soon as it is established. Incentives will be denied if the new location is not an Ameren Illinois delivery service customer.
Does your project qualify?
| • | New construction or gut remodel.
| • | Installing new, energy efficient equipment.
| • | New equipment meets eligibility guidelines as specified in the application.
| • | Estimated project completion date is by December 31, 2026 (please contact a program representative if the project is estimated to extend into the next program year).
What you should know before beginning:
| • | Preapproval is required for New Construction projects requesting incentives over $15,000. If preapproval is required, do not purchase (including generating purchase orders) new equipment until receiving an official preapproval letter.
| • | Stockpiles of equipment are not allowed: all equipment must be installed and operational.
| • | Final application paperwork is due within 30 days of project completion or by December 31, 2026, whichever comes first
| • | Incentive applications are also capped at the project cost, which includes the costs of material and external labor (internal labor is not considered).
| • | The lighting portion of the application can be submitted via the Online New Construction Lighting application:
https://www.amplifyincentives.com/amil/
Alternatively, it can be sent by email or hard copy. Emails that include“zip” files or web links cannot be received. You will receive a confirmation email within two business days of submitting an application; please contact us if you do not receive a confirmation email.
| • | Measures must be (1) self-installed by an employee of the Ameren Illinois customer listed on this application, or (2) installed by an Illinois Commerce Commission-approved Certified Installer to qualify for an incentive. Certification of the self-installation or evidence of installation by a Certified Installer will be required. A complete list of Certified Installers can be found at:
https://www.icc.illinois.gov/emdb/ucdb/search by choosing Authority Type, ‘Energy Efficiency Installers.’
| • | Please save a copy of this form to your computer.
Participation overview:
| • | Step One: Preapproval is required if the toal requested incentive is over $15,000. If preapproval is required, submit your application as directed within this application form. Do not purchase any material or generate purchase orders until a preapproval letter is issued.
| • | Step Two: Upon receipt of the preapproval letter, or if preapproval is not required, purchase and install the approved equipment. NOTE: if you are considering changes to the scope of work, it is imperative to contact a program representative to discuss how the change will impact your savings/incentive and the necessary steps required to request incentive changes.
| • | Step Three: As soon as your project is completed, submit a completed Incentive Payment Request Form and all supporting documentation requested. Final Application Paperwork will be reviewed; if approved your incentive will be paid within 60 days of approval.
| • | Step Four: Program staff may conduct a post installation verification inspection upon receiving final application paperwork.
Ameren Illinois Energy Efficiency Program |  |  | Submit applications to: IllinoisBusinessProjects@ameren.com
300 Liberty Street, 6th Floor, Peoria, IL 61602 |  |  | Send questions to: IllinoisBusinessEE@ameren.com
Toll Free: 1.866.800.0747
New Construction Application 2026 Rev01

## TERMS AND CONDITIONS
Terms and Conditions
1. DEFINITIONS: Capitalized terms used but not defined elsewhere herein shall have the following meanings:
a) “Ameren Illinois” shall mean Ameren Illinois Company d/b/a Ameren Illinois.
b) “Application” shall mean the Customer completed program application used to apply for the specific Ameren Illinois incentive, these Terms and Conditions, and any other supplemental documentation.
c) "Retro-commissioning" shall mean those projects that are found on the Large Facility, Industrial, Retro-commissioning Lite, or Compressed Air applications
d) “Customer” shall mean an Eligible Customer who has submitted an Application.
e) “Custom Initiative” shall mean those projects that are not Standard, Retro-commissioning, or Streetlighting Initiatives. Projects that are found on New Construction Lighting, Metering & Monitoring, and Feasibility Study are also part of the Custom Initiative.
f) “EEM” shall mean energy efficiency measures.
g) “Eligible Customer” shall mean a non-residential electric and/or gas customer of Ameren Illinois that own and install a Qualifying EEM at the Facility corresponding to the Ameren Illinois account number. Each program application has different eligibility requirements for Delivery Service rates (DS# for electric, GDS# for gas) to be eligible for that program. Refer to the specific program application to determine if your business is eligible for that application.
h) “Facility” shall mean a single premise that, in general, consists of a contiguous tract of land separated by nothing more than a street, alley, or railroad right-of-way, where all buildings and/or energy-consuming devices are owned by a single Customer.
i) “New Construction” shall include construction of new buildings, change-of-use of existing buildings or land, additions to existing buildings, or when two or more building systems are renovated, such as shell and heating, heating and lighting, etc.
j) “Pre-approval” shall mean written notification via a pre-approval letter to Customer that Ameren Illinois has reviewed Customer's Application and determined that the project meets the program eligibility requirements for a maximum pre-approved incentive amount if the project is completed by the estimated completion date and all final application paperwork is submitted and approved.
k) “Program Bonus” shall mean any seasonal, temporary, or promotional additional incentive paid by Ameren Illinois to Customer.
l) “Qualifying Energy Efficiency Measures (EEMs)” shall mean either (i) standard gas or electric EEMs (i.e., measures found on any of the Standard Initiative applications); or (ii) measures eligible under the Custom Initiative approved by Ameren Illinois; or (iii) measures found in the Streetlighting or Retro-commissioning Initiative as identified in official program materials found on the Ameren Illinois Energy Efficiency website. The following technologies are not Qualifying EEMs: (i) technologies that do not demonstrate measurable and verifiable energy savings, including power conditioning; (ii) technologies that displace electrical energy use or natural gas to another fuel (i.e. fuel switching); or (iii) renewable energy projects (solar, wind power, etc.). Eligible gas measures do not include propane or butane measures.
m) “Standard Initiative” shall mean those projects associated with standard gas or electric EEMs. Standard Initiative includes the following: Lighting (not New Construction Lighting), VFD, HVAC, Specialty Equipment, Equipment Installation, Smart Thermostat, Steam Trap and/or Leak Survey and Repair. See the Ameren Illinois Energy Efficiency website for individual program applications (AmerenIllinoisSavings.com).
n) "Streetlighting Initiative" shall mean those projects that are found on the Ameren Illinois owned and Municipal-owned streetlighting applications
2. PRE-APPROVAL, INSPECTIONS AND FINAL APPROVAL:
a) For all projects, Ameren Illinois is not obligated to award any incentive payment unless an Application is submitted and Pre-approval is granted. Ameren Illinois will not pay incentives for any EEMs ordered or any purchase order generated prior to the date of the Pre-approval letter, unless the requested incentive is less than $15,000 on any Standard Initiative Application. Pre-approval reserves incentive funds for a period up to the estimated completion date provided in the Pre-approval letter. After the estimated completion date, Ameren Illinois may revoke the Pre-approval letter and reserved incentive funds. Customer is responsible for ensuring that the project is completed by the estimated completion date, the Application is complete and accurate, and the project meets program eligibility requirements in order to receive final approval and the incentive payment.
b) A pre-approval inspection and post-installation inspection of the project may be required before an incentive payment is made.
c) Ameren Illinois reserves the right to request additional supporting documentation as deemed necessary to ensure program eligibility and verify that the expected energy savings will occur.
3. INCENTIVE PAYMENT AMOUNTS:
a) Incentive caps are defined as follows:
i) Standard, Custom, Retro-Commissioning, and Streetlighting Applications: Electric incentives over $500,000 are likely to be reduced from the full incentive rate based on available program budget. Gas incentives are capped at $250,000 per project.
ii) New Construction Lighting, Feasibility Study, Leak Survey and Repair, Strategic Energy Monitoring, Small Business Direct Install, and Metering & Monitoring incentives are capped at other amounts. Please see individual program applications for further details.
b) Ameren Illinois reserves the right to adjust the incentive amount, based upon its independent assessment of appropriate savings or cost estimates.
c) Ameren Illinois will pay no more than the incentive amount in the Pre-approval letter.
d) Ameren Illinois reserves the right to cap incentives at $15,000 for Standard Initiatives that did not obtain Pre-approval.
e) The sum of all Incentives and any applicable Program Bonuses for Standard Initiative, Custom Initiative, or Streetlighting Initiative will be capped at the project cost, which includes material cost and external labor cost. Internal labor cost is not considered in the project cost. Steam Trap Surveys are eligible for incentives when internal labor is used according to the Steam Trap Application.
4. MONITORING AND EVALUATION: Customer grants Ameren Illinois and any of its agents, the right to make follow-up visits, inspections, metering, data collection and/or surveys of the Customer’s Facility during the 36 months following the completion date of the project to verify the installation and performance of the EEMs that were funded by incentives upon reasonable notice to Customer. If Customer removes the EEMs at any time or Customer ceases to be a delivery service customer of Ameren Illinois within 36 months after installation, Ameren Illinois shall be entitled to recover from Customer the total amount of incentive payments made plus interest.
5. CUSTOMER DATA: By submitting an Application, Customer understands and authorizes Ameren Illinois and its third party providers and agents to retain Customer's Application, and use, store and share the information contained in the Application, together with such data and documentation collected in connection with the project, for the program and its internal business purposes. Customer agrees that Ameren Illinois may share such information with the Illinois Commerce Commission, or its contractors, who plan to evaluate my energy usage. Ameren Illinois may release aggregated, non-identifiable data to third parties for regulatory and non-regulatory purposes.
6. CUSTOMER SHALL PAY ALL TAXES: Incentive payments received by Customer or any third party payee designated by Customer on a Payment Release Authorization Form may be taxable by the federal, state, and local government. Customer is responsible for declaring and paying all such taxes, regardless of who receives the incentive.
7. REMOVAL OF EXISTING EQUIPMENT: Customer agrees, as a condition of participation in the program, to remove and dispose of any equipment being replaced by the EEMs in accordance with all applicable laws, rules, and regulations. Customer further agrees not to reinstall any replaced equipment or transfer it to any other party for installation in Illinois.
8. OWNERSHIP:
a) EEMs purchased and installed with incentives provided by this program, and all energy savings realized from the installation of such EEMs, are the property of Customer.
b) In consideration of the incentives provided by this program, Customer agrees that Ameren Illinois is entitled to all rights to any system capacity and environmental credits and attributes that may be associated with EEMs for which incentives from Ameren Illinois were received, and Customer waives, and agrees not to seek, any right to the same.
9. CHANGES OR CANCELLATION OF THE PROGRAM:
a) Ameren Illinois, in its sole discretion, may change any of the terms and conditions of the program, suspend acceptance of Applications, deny Applications already received and not yet pre-approved or terminate the program at any time without prior notice.
b) In the event of program change or cancellation, Applications that have been pre-approved will be processed to completion under the program requirements and Terms and Conditions in effect at the time of Pre-approval by Ameren Illinois.
c) Incentives under the program are offered on a first-come, first-served basis and are subject to project eligibility and the availability of funds.
10. LIMITATION OF LIABILITY AND INDEMNIFICATION:
a) AMEREN ILLINOIS’ TOTAL LIABILITY TO CUSTOMER UNDER THESE TERMS AND CONDITIONS, OR ANY OTHER REQUIREMENT OF CUSTOMER’S APPLICATION OR CONDITION OF INCENTIVE AWARD SHALL BE LIMITED TO PAYMENT OF THE AMOUNT OF THE INCENTIVE PAYMENTS DUE TO CUSTOMER IN THE APPLICATION OR PRE-APPROVAL LETTER ACCORDING TO THE PROGRAM. AMEREN ILLINOIS, ITS PARENT, AFFILIATES AND SUBSIDIARIES, AND THEIR DIRECTORS, OFFICERS, EMPLOYEES, CONTRACTORS OR AGENTS SHALL NOT BE LIABLE TO THE CUSTOMER FOR THE CUSTOMER'S FAILURE TO ACHIEVE ANY RESULTS IN ENERGY SAVINGS; THE OPERATION OF THE CUSTOMER'S FACILITY; LOSS OF PROFITS OR REVENUE; LOSS OF USE OF CUSTOMER'S PROPERTY, EQUIPMENT OR POWER SYSTEM; INCREASED COSTS OF ANY KIND, INCLUDING BUT NOT LIMITED TO CAPITAL COST, FUEL COST AND COST OF PURCHASED OR REPLACEMENT POWER; OR ANY SPECIAL, INDIRECT, CONSEQUENTIAL OR INCIDENTAL DAMAGES WHATSOEVER IN CONNECTION WITH CUSTOMER'S APPLICATION, CUSTOMER'S PARTICATION IN THE PROGRAM, ANY EEMS INSTALLED AT CUSTOMER'S FACILITY OR ANY ACTIVITIES ASSOCIATED WITH THE PROJECT. BY PARTICIPATING IN THE AMEREN ILLINOIS PROGRAM, CUSTOMER AGREES TO WAIVE ANY CLAIMS, EXCEPT AS PROVIDED IN THIS SECTION, AND FULLY RELEASES AMEREN ILLINOIS FROM ANY DAMAGES, OF ANY KIND ARISING OUT OF OR RELATED TO CUSTOMER’S APPLICATION AND ANY EEMS INSTALLED AT CUSTOMER'S FACILITY.
b) Customer shall defend, indemnify, and hold harmless Ameren Illinois, its parent, affiliate and subsidiaries, and their representative directors, officers, employees, contractors and agents from and against all liabilities, losses, claims, damages, judgments, penalties, costs and expenses (including, without limitation, attorney’s fees and expenses) from and against third party claims for injuries, including death, to any person, or for property damage, or for payment for goods or services arising out of or relating to Customer’s Application or any EEMs installed at Customer's Facility.
11. NO WARRANTIES: Ameren Illinois and its parent, affiliates, employees, contractors and agents do not guarantee the energy savings, and do not make any representations or warranties of any kind, regarding the results to be achieved by the EEMs or the adequacy or safety of such measures. Ameren Illinois and its parent, affiliates, employees, contractors and agents do not endorse, guarantee, or warrant any particular manufacturer, contractor or product, and do not endorse or guarantee any claims, promises, work, or equipment made performed or furnished by any contractors or vendors that sell or install EEMs.
12. CHOICE OF LAW AND DISPUTES.
a) THESE TERMS AND CONDITIONS, OR ANY OTHER REQUIREMENT OF THE APPLICATION OR CONDITION OF INCENTIVE AWARD WILL BE GOVERNED IN ALL RESPECTS BY THE LAWS, STATUTES, AND REGULATIONS OF THE STATE OF ILLINOIS. AMEREN ILLINOIS AND CUSTOMER HEREBY IRREVOCABLY AND UNCONDITIONALLY WAIVE ANY RIGHT EITHER SUCH PARTY MAY HAVE TO A TRIAL BY JURY OR TO INITIATE OR BECOME A PARTY TO ANY CLASS ACTION CLAIMS IN RESPECT OF ANY ACTION, SUIT OR PROCEEDING DIRECTLY OR INDIRECTLY ARISING OUT OF OR RELATING TO THIS PROGRAM.
b) Customer agrees that any dispute arising out of or related the workmanship or performance of an EEM or the adequacy or safety or such measure shall be resolved solely between the Customer and the EEM contractor or equipment provider.
13. IF TENANT: If the facility is under lease, the Customer's tenant who controls the Facility, by executing this agreement, assumes the rights and obligations of the Customer hereunder. (Rev18)

## AGREEMENT
New Construction Application
Required Documentation Checklist & Terms of Agreement
To submit the Application, complete all items from the following checklist and fill out the remaining fields below:
| O | Verify that all applicable fields are filled in the 'PROJECT INFO' tab, as well as in the equipment tabs related to the project (Lighting, HVAC, Custom, etc.)
| O | Review incentive amounts in the 'SUMMARY' tab and make adjustments to the equipment tabs as necessary.
| O | Attach manufacturer spec sheets for all equipment for which you are requesting incentives. Please circle or highlight the information showing that it meets program technical requirements.
| O | If available, copies of bids showing project costs (external materials and labor) should be included.
| O | Ensure the application is signed by the Ameren Illinois customer and that the individual signing the form has initialed the box agreeing to the Terms and Conditions. (A typed signature is acceptable.)
| O | Attach a signed W-9 form with the Tax Identification Number associated with the Ameren Illinois customer. Incentives WILL NOT be paid until a completed and signed W-9 has been received.
click here for a blank W-9 form
Supplemental Documentation Supplemental forms are required for specific situations, as described below. All supplemental documentation can be found on the Ameren Illinois Energy Efficiency Programs website:
AmerenIllinoisSavings.com/forms
| O | Custom energy saving measures require additional documentation. See the 'Custom' tabs for details.
| O | Large Incentive Request Form is required if total requested incentive is over $50,000
After preapproval (if required), projects with a requested incentive greater than $100,000 should:
| O | Complete and submit of a letter of notice, signed by a corporate officer, that the company is proceeding with the project – due within 30 days of pre-approval letter.
| O | Submit documentation clearly demonstrating the project has commenced. This documentation may include, but is not limited to, purchase requisitions, purchase orders, invoices, sales contracts, etc., for equipment and/or services – due within 60 days of pre-approval letter (contact the program representative if you think your project will require more than 60 days)
| O | Contact a program representative monthly (no later than the end of each calendar month) to discuss the project plan, scope, and timeline – until the project is complete and the Incentive Payment Request Form is submitted
Other Required Information Upon receipt of the pre-approval letter, Customer should immediately contact a program representative regarding any change to the project scope or timeline (including changes to equipment, project costs, projected energy savings or estimated completion date) to discuss how the change will impact your savings/incentive and the necessary steps required to request incentive changes.
Made in Illinois Bonus - place an 'X' in this box and follow the instructions below if claiming this bonus
1. Enter eligible equipment* (attach a list if additional space is needed)
|  | Manufacturer |  | Model
2. Provide documentation of eligibility either with an equipment listing from the BuildingClean.org website showing that it was made in Illinois, or an affidavit from the manufacturer attesting that the equipment meets the criteria.
http://www.buildingclean.org/
* Equipment must be at least 50% manufactured and/or assembled in Illinois (exclusive of packaging and installation); product installation is not considered assembly. The project must be completed between Jan. 1 and Sept. 30, 2022. More info:
https://amerenillinoissavings.com/illinois/
Terms of Agreement: Customer Acknowledgment and Signature
I certify that all information provided in this Application is correct and complete. I have read, understand and agree to the program requirements and the Terms and Conditions set forth in this Application (see 'Terms and Conditions' tab), and I agree to abide by these requirements.
By initialing this box and signing below, I certify that I have authority to make these statements and
submit this Application. Applications will not be accepted as “complete” unless this box is initialed and all of the below fields are completed.
| Project estimated completion date (ECD) |  |  |  | Justification for ECD (lead times, capital process, scheduling, etc.)
| 2026 |  | (mm/dd)
| 2027 | Q1 Q2 Q3 Q4 | (select a quarter)
| 2028 | Q1 Q2 Q3 Q4 | (select a quarter)
| Print name |  |  |  | Title
| Signature |  |  |  | Date (mm/dd/yyyy)
Please note, the application must be signed & dated by the customer contact or otherwise authorized 3rd party. Electronic signatures are allowed and accepted by the Business Program. Typing your name above constitutes a valid electronic signature.
Ameren Illinois Energy Efficiency Program |  |  |  |  | Submit applications to: IllinoisBusinessProjects@ameren.com
300 Liberty St, 6th Floor, Peoria, IL 61602 |  |  |  |  | Send questions to: IllinoisBusinessEE@ameren.com
Toll Free: 1.866.800.0747

## PROJECT INFO
Red indicates a required field
| Ameren Illinois Customer Information | [6 empty] | INSTALLATION TYPE | FACILITY TYPES | SECTOR | Column1
| Customer Name on Ameren Illinois Account |  | Ameren Illinois Account Numbers (or 'Pending') |  |  |  |  | Click here, then use the arrow on the right to choose. | Click here, then use the arrow on the right to choose. | Click here, then use the arrow on the right to choose. | Blank
|  |  |  | Electric: |  |  |  | Self-installed by an employee of the Ameren Illinois customer listed on this application | Assembly | Business | Private
|  |  |  | Gas: |  |  |  | Installed by Illinois Commerce Commission-registered Certified Installer (Enter name, as registered with ICC, on the right): | Assisted Living | Community college | Public
| Customer Tax Status |  | NOTE: A signed W-9 form must be submitted with this application | [5 empty] | College | Public school district | Public
| Click here, then use the arrow on the right to choose. | [7 empty] | Convenience Store | State or federal facility | Private
| Payment Remit To Mailing Address |  |  | City |  | State | Zip | NEW-EXISTING BUILDING | Elementary School | Unit of local government | Public
[8 empty] | Click here, then use arrow on the right to choose. | Grocery | Private University | Private
| Participant Contact Name |  | Title |  |  |  |  | New building | Healthcare clinic | State University | Public
[8 empty] | Existing building | High School | Non-profit | Private
| Participant E-mail Address | Phone (XXX) XXX-XXXX |  |  | Ext. | Fax (XXX) XXX-XXXX |  |  | Hospital
Hotel/Motel
| Secondary Participant Contact Name (if applicable) | Phone (XXX) XXX-XXXX |  |  | E-mail Address |  |  | DESIGN PHASE | Indoor Agriculture/Grow Facility
[8 empty] | Click here, then use the arrow on the right to choose. | Manufacturing Facility
| Name(s) of the person(s) who referred you to the Ameren Illinois Energy Efficiency Program for this project: | [6 empty] | Schematic Design | Movie Theater | isPublic
| Name of Ameren Illinois or Energy Efficiency Employee |  |  | Name of Referring Contractor or Program Ally |  |  |  | Design Documents | Multifamily Common Areas
[8 empty] | Construction Documents | Multiple
[9 empty] | Municipality | isCustomPublic
| Project Installation Information | [6 empty] | HVAC SYSTEM TYPE | Office – High Rise (10+ floors)
| Physical Installation Address (if different than above) |  |  | City |  | State | Zip | CAV (no economizer) | Office – Low Rise (<5 floors)
[6 empty] | IL |  | CAV (with economizer) | Office – Mid Rise (5-9 floors)
| Installer Information (choose one) |  | ICC Certified Installer (if applicable) |  |  |  |  | VAV | Religious Building
| Click here, then use the arrow on the right to choose. | [6 empty] | FCU | Restaurant
Retail Dept. Store (>30,000 ft2)
| Contractor/Program Ally Information | [6 empty] | TAX STATUS | Retail Strip Mall (<30,000 ft2)
| Company Name | Contact Name |  |  |  | Title |  | Click here, then use the arrow on the right to choose. | Unknown/Misc
[8 empty] | Taxable / non tax-exempt | Warehouse
| Mailing Address |  |  | City |  | State | Zip | Government
501(c)(3)
| E-mail Address | Phone (XXX) XXX-XXXX |  |  | Ext | Fax (XXX) XXX-XXXX |  | Other tax exempt
Facility/Project Description
* | Sector
| Click here, then use the arrow on the right to choose. |  | --> | PLEASE SELECT A SECTOR ON THE LEFT
| Facility Type (choose one): |  |  | Indicate if this is a new or existing building (choose one):
| Click here, then use the arrow on the right to choose. |  |  | Click here, then use arrow on the right to choose.
| Total Interior Square Footage Served by Ameren Illinois Account |  |  | Current phase in the design process (choose one):
Click here, then use the arrow on the right to choose.
| Annual Facility Hours of Operation (required for Lighting projects) |  |  | For hospitals and high rise offices, specify HVAC system type:
Estimated Total Project Cost
0

## SUMMARY
NOTE: Incentive rates may depend on market sector. Before reviewing the summary below, please enter the proper sector in the 'Facility/Project Description' section of the 'PROJECT INFO' tab.
|  | Total Estimated Incentive: | [5 empty] | 0
| Lighting | Lighting
|  |  | NCL-I | Interior lighting | $ | / | kWh | 0
Incentive based on percent improvement over lighting power density (LPD) baseline:
Tier 1: 15% - 24.99% $0.16/kWh
Tier 2: 25% - 34.99% $0.17/kWh
Tier 3: 35% - 100% $0.18/kWh
|  |  | NCL-E | Exterior Lighting | 0.17 | / | kWh | 0
| HVAC - Heating | High Efficiency Gas Furnaces
|  |  | BPH7 | 40 - 140 kBtuh input | SEE NOTE | / | unit installed | 0
|  |  | BPH7 | 141 - 225 kBtuh input | SEE NOTE | / | unit installed | 0
Gas Air Heaters
|  |  | BPH20 | HVAC condensing furnace | SEE NOTE | / | kBtuh | 0
HTHV Direct Fired Heaters
|  |  | BPH24 | High temperature heating and ventilation direct fired gas heater | SEE NOTE | / | kBtuh | 0
Infrared Heaters
|  |  | BPH10 | 20 - 250 kBtuh input | SEE NOTE | / | unit installed | 0
Gas Boilers
|  |  | BPH4 | Gas Boilers | SEE NOTE | / | unit installed | 0
| HVAC - Cooling | Air Conditioners (including RTUs)
|  |  | BPC5 | Air Conditioners (including RTUs) | SEE NOTE | / | unit | 0
Air-Source Heat Pumps
|  |  | BPC6 | Air-Source Heat Pumps | SEE NOTE | / | unit installed | 0
Air-cooled Chillers
|  |  | BPC12 | Air-cooled Chillers | SEE NOTE | / | ton/EER improvement | 0
Water-cooled Chillers
|  |  | BPC10 | Water-cooled Chillers | SEE NOTE | / | ton/IPLV improvement | 0
PTAC/PTHP Units
|  |  | BPC27 | Less than 65 kBtuh, minimum 13 EER | SEE NOTE | / | unit installed | 0
Notched V-Belts
|  |  | BPH16 | Notched V-Belts | SEE NOTE | / | unit installed | 0
| Hot Water | Heat Pump Water Heaters
|  |  | BPWH8 | Heat Pump Water Heater | SEE NOTE | / | unit installed | 0
Controls for Multifamily Facility Hot Water
|  |  | BPWH7 | Controls for centralized domestic hot water system | SEE NOTE | / | living unit served | 0
Commercial Tankless Water Heaters (Electric)
|  |  | BPWH2 | 5.0-9.9 GPM, minimum 70°F temperature rise and 0.98 energy factor | SEE NOTE | / | heater | 0
Commercial Tanked Water Heaters (Gas)
|  |  | BPWH5 | Minimum 50 gal, 75 MBTUH and 88% efficiency | SEE NOTE | / | heater | 0
| Custom | Custom Projects
|  |  | CI-E | Custom electric project | SEE NOTE | / | kWh* | 0
|  |  | CI-G | Custom gas project | SEE NOTE | / | Therm* | 0
|  |  | CI-W | Custom water project | SEE NOTE | / | kgal | 0
| Hospitality | Green Nozzles
|  |  | Call toll free 1.866.800.0747 for details (Replaces current pre-rinse spray nozzle with low flow nozzle) |  |  |  |  | FREE($100 value)
`
Commerical Laundry
|  |  | BPM4 | Ozone laundry system | SEE NOTE | / | lb capacity | 0
|  |  | BPM12 | Commercial Clothes Dryer Moisture Sensor | SEE NOTE | / | sensor | 0
Commercial Pool Equipment
|  |  | BPM5 | Insulated pool cover | SEE NOTE | / | square foot | 0
|  |  | BPM11 | Variable Frequency Drive (VFD) on pool pump | SEE NOTE | / | pump | 0
| Refrigeration | Evaporator Fan EC Motor Controls
|  |  | BPR37 | ECM for evaporator fan | SEE NOTE | / | control | 0
Q-Sync Motors
|  |  | BPR39 | Q-Sync Motors for Reach-In Coolers and Freezers | SEE NOTE | / | motor | 0
| Industrial | BPR39
|  |  | BPBC1 | High Frequency Battery Chargers | SEE NOTE | / | unit/shift | 0
* Custom electric incentive rate for the portion of savings above 3,125,000 kWh is $0.06/kWh
Custom gas incentive rate for the portion of savings above 100,000 therms is $0.50/therm

## Lighting-Step1
Lighting - STEP 1: Compiling a list of proposed fixture specifications |  |  |  |  | Per ASHRAE 90.1: The following lighting equipment and applications shall not be considered when determining the interior lighting power allowance nor shall the the wattage for such lighting be included in the installed interior lighting power unless there is no general lighting in the space (that is, the lighting listed below serves as the only illumination of the space) and is controlled by an independent control device. 1. Display or accent lighting that is an essential element for the function performed in galleries, museums, and monuments 2. Lighting that is integral to equipment or instrumentation and is installed by its manufacturer 3. Lighting specifically designed for use only during medical or dental procedures and lighting integral to medical equipment 4. Lighting integral to both open and glass-enclosed refrigerator and freezer cases 5. Lighting integral to food warming and food preparation equipment 6. Lighting specifically designed for the life support of non-human life forms 7. Lighting in retail display windows, provided the display area is enclosed by ceiliing-height partitions 8. Lighting in interior spaces that have been specifically designated as a registered interior historic landmark 9. Lighting that is an integral part of advertising or directional signage 10. Lighting that is for sale of lighting educational demonstration systems 11. Lighting for theatrical purposes, including performance, stage, and film and video production 12. Lighting for television broadcasting in sporting activity areas 13. Casino gaming areas 14. Furniture-mounted supplemental task lighting that is controlled by automatic shutoff 15. Mirror lighting in dressing rooms and accent lighting in religious pulpit and choir areas 16. Parking garage transition lighting – lighting for covered vehicle entrance and exits from buildings and parking structures, with each transition zone not exceeding a depth of 66 ft inside the structure and a width of 50 ft.
INSTRUCTIONS: Enter the Manufacturer, Part No. and Watts/fixture for all proposed lighting. Fixture locations and quantities will be entered in Step 2. Please attach a cut sheet for each fixture. NOTES AND ELIGIBILITY: • Incentives for new construction lighting are capped at $150k • Exit signs should not be included • Agricultural grow lighting is not included in this application and should be processed on the Standard Lighting application or Amplify Online tool: https://www.amplifyincentives.com/amil/ • See ASHRAE reference on the right for other fixture types that should not be included • Eligibility for incentives is limited to products listed on the DesignLights Consortium (DLC) qualified product list, however ALL lighting fixtures (excepting those listed on the ASHRAE table to the right) must be included on this tab and the Lighting Inventory on the 'Lighting-Step2' tab, in order to determine % energy savings above code. • Screw base and pin base (except GX24 and G24q) lamps, LED tube lamps using T12, T10, T8 or T5 sockets, and recessed can fixtures or trim kits are not eligible for incentives through this application, but may be purchased at a discount from a local distributor under the Instant Incentives offering. However, ALL lighting fixtures (excepting those listed on the ASHRAE table to the right) must be included on this application in order to determine % energy savings above code.
Fixture No. | Fixture Type | Manufacturer | Part No. | Watts/fixture |  | Fixture Types
Example | Linear Ambient | Corpus Lucidum | CL480-45K-175-B | 174.5 |  | Click here, then choose
Fixture 1 | [5 empty] | Agricultural
Fixture 2 | [5 empty] | Directional / Track
Fixture 3 | [5 empty] | Display Case
Fixture 4 | [5 empty] | Downlight
Fixture 5 | [5 empty] | Flat Panel / Troffer
Fixture 6 | [5 empty] | Flood / Spot
Fixture 7 | [5 empty] | High Bay / Low Bay
Fixture 8 | [5 empty] | Landscape
Fixture 9 | [5 empty] | Linear Ambient/Strip Fixture
Fixture 10 | [5 empty] | Other
Fixture 11 | [5 empty] | Pole / Arm Mount
Fixture 12 | [5 empty] | Wall Pack
Fixture 13 | [5 empty] | Wall Wash
Fixture 14
Fixture 15
Fixture 16
Fixture 17
Fixture 18
Fixture 19
Fixture 20
Fixture 21
Fixture 22
Fixture 23
Fixture 24
Fixture 25
Fixture 26
Fixture 27
Fixture 28
Fixture 29
Fixture 30
Fixture 31
Fixture 32
Fixture 33
Fixture 34
Fixture 35
Fixture 36
Fixture 37
Fixture 38
Fixture 39
Fixture 40
Fixture 41
Fixture 42
Fixture 43
Fixture 44
Fixture 45
Fixture 46
Fixture 47
Fixture 48
Fixture 49
Fixture 50
Fixture 51
Fixture 52
Fixture 53
Fixture 54
Fixture 55
Fixture 56
Fixture 57
Fixture 58
Fixture 59
Fixture 60
Fixture 61
Fixture 62
Fixture 63
Fixture 64
Fixture 65
Fixture 66
Fixture 67
Fixture 68
Fixture 69
Fixture 70
Fixture 71
Fixture 72
Fixture 73
Fixture 74
Fixture 75
Fixture 76
Fixture 77
Fixture 78
Fixture 79
Fixture 80
Fixture 81
Fixture 82
Fixture 83
Fixture 84
Fixture 85
Fixture 86
Fixture 87
Fixture 88
Fixture 89
Fixture 90
Fixture 91
Fixture 92
Fixture 93
Fixture 94
Fixture 95
Fixture 96
Fixture 97
Fixture 98
Fixture 99
Fixture 100
Fixture 101
Fixture 102
Fixture 103
Fixture 104
Fixture 105
Fixture 106
Fixture 107
Fixture 108
Fixture 109
Fixture 110
Fixture 111
Fixture 112
Fixture 113
Fixture 114
Fixture 115
Fixture 116
Fixture 117
Fixture 118
Fixture 119
Fixture 120
Fixture 121
Fixture 122
Fixture 123
Fixture 124
Fixture 125
Fixture 126
Fixture 127
Fixture 128
Fixture 129
Fixture 130
Fixture 131
Fixture 132
Fixture 133
Fixture 134
Fixture 135
Fixture 136
Fixture 137
Fixture 138
Fixture 139
Fixture 140
Fixture 141
Fixture 142
Fixture 143
Fixture 144
Fixture 145
Fixture 146
Fixture 147
Fixture 148
Fixture 149
Fixture 150
Fixture 151
Fixture 152
Fixture 153
Fixture 154
Fixture 155
Fixture 156
Fixture 157
Fixture 158
Fixture 159
Fixture 160
Fixture 161
Fixture 162
Fixture 163
Fixture 164
Fixture 165
Fixture 166
Fixture 167
Fixture 168
Fixture 169
Fixture 170
Fixture 171
Fixture 172
Fixture 173
Fixture 174
Fixture 175
Fixture 176
Fixture 177
Fixture 178
Fixture 179
Fixture 180
Fixture 181
Fixture 182
Fixture 183
Fixture 184
Fixture 185
Fixture 186
Fixture 187
Fixture 188
Fixture 189
Fixture 190
Fixture 191
Fixture 192
Fixture 193
Fixture 194
Fixture 195
Fixture 196
Fixture 197
Fixture 198
Fixture 199
Fixture 200

## Lighting-Step2
Lighting - STEP 2: Specifying locations and quantities (Lighting Inventory) | [7 empty] | Per ASHRAE 90.1: The following lighting equipment and applications shall not be considered when determining the interior lighting power allowance nor shall the the wattage for such lighting be included in the installed interior lighting power unless there is no general lighting in the space (that is, the lighting listed below serves as the only illumination of the space) and is controlled by an independent control device. 1. Display or accent lighting that is an essential element for the function performed in galleries, museums, and monuments 2. Lighting that is integral to equipment or instrumentation and is installed by its manufacturer 3. Lighting specifically designed for use only during medical or dental procedures and lighting integral to medical equipment 4. Lighting integral to both open and glass-enclosed refrigerator and freezer cases 5. Lighting integral to food warming and food preparation equipment 6. Lighting specifically designed for the life support of non-human life forms 7. Lighting in retail display windows, provided the display area is enclosed by ceiliing-height partitions 8. Lighting in interior spaces that have been specifically designated as a registered interior historic landmark 9. Lighting that is an integral part of advertising or directional signage 10. Lighting that is for sale of lighting educational demonstration systems 11. Lighting for theatrical purposes, including performance, stage, and film and video production 12. Lighting for television broadcasting in sporting activity areas 13. Casino gaming areas 14. Furniture-mounted supplemental task lighting that is controlled by automatic shutoff 15. Mirror lighting in dressing rooms and accent lighting in religious pulpit and choir areas 16. Parking garage transition lighting – lighting for covered vehicle entrance and exits from buildings and parking structures, with each transition zone not exceeding a depth of 66 ft inside the structure and a width of 50 ft.
INSTRUCTIONS: Before attempting this step, please complete Lighting - Step 1 1) Select the Lighting Zone 2) Note the project square footage comparison. Upon completion of Lighting Inventory, the square footage from the Project Info tab should match the square footage from the Lighting Inventory 3) Document all proposed interior and exterior lighting on the Lighting Inventory. (See ASHRAE reference on the right for fixture types that may be excluded.) Use one line for each fixture type in a room or area. • For interior fixtures, enter the area in square feet; for exterior fixtures, enter the appropriate value for the unit shown • When multiple fixtures are used in a single space, enter the square footage or appropriate exterior value ONLY ONCE per location NOTES: • Submitting lighting and site plans will expedite approval • Consistent with ASHRAE 90.1, an incentive penalty is applied for failing to implement a control strategy in interior spaces. • Note that exterior dimming to at least 50% between the hours of midnight and 6 a.m. is required, with few exceptions. • See incentive eligibility requirements on the 'Lighting-Step1' tab, however, ALL lighting fixtures (excepting those listed on the ASHRAE table to the right) must be included on the Lighting Inventory below in order to determine % energy savings above code. • Networked Lighting Controls must enable three or more control strategies. • Agricultural grow lighting is not included in this application and should be processed on the Standard Lighting application or Amplify Online tool: https://www.amplifyincentives.com/amil/ • Minimum lighting power densities (LPD) are based on IECC 2021 | [31 empty] | Predominant Space Type | Coincidence Factor (CF) | Fixture EFLH | Screw-based EFLH | IECC 2021 Building Area Method LPD | Interactive Factor, Demand (WHFd) | Interactive Factor, Energy (WHFe)
[29 empty] | Interior or Exterior |  | Interior | Assisted Living | 0.66 | 7862 | 5950 | 0.68 | 1.3 | 1.14
[29 empty] | Interior |  |  | Automotive Facility | 0.97 | 4099 | 2935 | 0.75 | 1.24 | 1.16
[29 empty] | Exterior |  |  | College/University | 0.63 | 3395 | 2588 | 0.72 | 1.54 | 1.02
[32 empty] | Convenience Store | 0.76 | 4672 | 3650 | 0.84 | 1.26 | 1.09
[32 empty] | Convention Center | 0.94 | 4099 | 2935 | 0.64 | 1.06 | 1.06
[29 empty] | Area Cooling |  |  | Courthouse | 0.52 | 2698 | 3088 | 0.79 | 1.26 | 1.1
[29 empty] | Cooled |  |  | Dairy | 0.95 | 6205 | 6205 | 0.9 | 1 | 1
[29 empty] | Not Cooled |  |  | Elementary School | 0.65 | 3038 | 2118 | 0.72 | 1.51 | 1.04
[29 empty] | N/A |  |  | Exercise Center | 0.94 | 4099 | 2935 | 0.72 | 1.06 | 1.06
[32 empty] | Fire Station | 0.66 | 7862 | 5950 | 0.56 | 1.3 | 1.14
[32 empty] | Garage | 0.92 | 3401 | 3540 | 0.18 | 1 | 1
[29 empty] | Area Heating |  |  | Garage, 24/7 lighting | 1 | 8766 | 8766 | 0.18 | 1 | 1
[29 empty] | Natural Gas |  |  | Grocery | 0.82 | 5468 | 3650 | 0.84 | 1.22 | 1.05
Lighting Zone | [28 empty] | Electric |  |  | Gymnasium | 0.94 | 4099 | 2935 | 0.76 | 1.06 | 1.06
| Lighting Zone (select one) | Description | [26 empty] | Liquid Propane |  |  | Healthcare Clinic | 0.67 | 3890 | 4207 | 0.81 | 1.04 | 1.14
|  | Developed areas of national parks, state parks, forest land, and rural areas | [26 empty] | None |  |  | High School/Middle School | 0.65 | 3038 | 2327 | 0.72 | 1.4 | 1.15
|  | Areas predominantly consisting of residential zoning, neighborhood business districts, light industrial with limited nighttime use and residential mixed use areas | [26 empty] | N/A |  |  | Hospital | 0.56 | 7616 | 4207 | 0.96 | 1.27 | 1.14
|  | All other areas not classified as lighting zone 1, 2 or 4 | [5 empty] | 0 | [23 empty] | Hospital - No Sensor Req'd | 0.56 | 7616 | 4207 | 0.96 | 1.27 | 1.14
|  | High-activity commercial districts in major metropolitan areas as designated by the local land use planning authority | [26 empty] | Shortcut for ft^2 (type "sqft") |  |  | Hotel/Motel Common Areas | 0.85 | 6138 | 4542 | 0.56 | 1.26 | 1.09
[29 empty] | ft² |  |  | Hotel/Motel Guest Rooms | 0.46 | 2390 | 777 | 0.56 | 1.21 | 1.17
Square Footage Comparison | [31 empty] | Library | 0.71 | 4093 | 2935 | 0.83 | 1.29 | 1.12
Please add all spaces to the Lighting Inventory below such that the following values for square footage match | [28 empty] | Proposed Controls |  |  | Manufacturing | 0.81 | 4618 | 2629 | 0.82 | 1.04 | 1.02
| Square footage from 'Project Info' tab |  |  | Square footage from Lighting Inventory (below) | [24 empty] | Occupancy |  |  | Miscellaneous (Other) | 0.67 | 3379 | 3612 | Please contact program representative. | 1.3 | 1.08
| 0 |  | = | 0 | BUILDING AREA CONSISTENT | [23 empty] | Daylight |  |  | Movie Theatre | 0.53 | 3506 | 5475 | 0.44 | 1.38 | 1.11
[29 empty] | Occupancy/Daylight |  |  | Multi-Family Common Areas | 0.62 | 5216 | 5950 | 0.45 | 1.16 | 1.11
Lighting Inventory | [28 empty] | Networked Lighting Controls |  |  | Museum | 0.52 | 2698 | 3088 | 0.55 | 1.26 | 1.1
P R O J E C T I N F O R M A T I O N | [9 empty] | BASELINE |  | PROPOSED INSTALLATION | [5 empty] | ENERGY CALCULATIONS | [9 empty] | INTERNAL USE |  |  |  | Office | 0.52 | 2698 | 3088 | 0.64 | 1.26 | 1.1
Line Item | Location/Room | Floor | Interior or Exterior | Predominant Space Type or Use |  | Area Cooling | Area Heating | Area Size |  | LPD | Base kW/space | Proposed Fixture Quantity | Proposed Fixture # (from Step 1 Wattage Table) | Proposed Watts/Fixture | Proposed kW/space | Proposed Control | Proposed Sensor Quantity (if applicable) | Interior Δ Connected Load [kW] | Exterior Δ Connected Load [kW] | Coincidence Factor (CF) | Interactive Factor, demand (WHFd) | Interactive Factor, energy (WHFe) | Base Controls Factor (ESFb) | Proposed Controls Factor (ESFee) | Deemed Equivalent Full Load Hours (EFLH) | Demand Savings [kW] | Energy Savings [kWh] | Eligible? | (Base) Controls Factor (ESF) INCLUDE EXCEPTED SpaceTypes | ESF |  | Penitentiary | 0.66 | 7862 | 5950 | 0.69 | 1.3 | 1.14
Example | Sales floor - linear fixtures | 1 | Interior | Retail - Strip Mall |  | Cooled | Natural Gas | 6250 | ft² | 1.06 | 6.625 | 72 | Fixture 1 | 35 | 2.52 | Occupancy/Daylight | 12 | [11 empty] | Cannabis Grow Facility - Medicinal | 0 |  | Performing Arts Theatre | 0.53 | 3506 | 5475 | 0.84 | 1.38 | 1.11
Example | Sales floor - track lights | 1 | Interior | Retail - Strip Mall |  | Cooled | Natural Gas |  | ft² | 1.06 | 0 | 24 | Fixture 5 | 22 | 0.528 | Occupancy | 5 | [11 empty] | Cannabis Grow Facility - Recreational | 0 |  | Police Station | 0.66 | 7862 | 5950 | 0.66 | 1.3 | 1.14
Example | Parking | 1 | Exterior | Uncovered parking areas |  | N/A | N/A | 17800 | ft² | 0.06 | 1.068 | 9 | Fixture 2 | 110 | 0.99 | Occupancy | 9 | [11 empty] | Interior¦Occupancy | 0.24 |  | Post Office | 0.52 | 2698 | 3088 | 0.65 | 1.26 | 1.1
1 | [28 empty] | Interior¦Daylight | 0.28 |  | Preschool/Childcare | 0.72 | 2860 | 2860 | 0.72 | 1.29 | 1.17
2 | [28 empty] | Interior¦Occupancy/Daylight | 0.38 |  | Religious Facility | 0.48 | 2085 | 1664 | 0.67 | 1.37 | 1.12
3 | [28 empty] | Exterior¦Setback | 0.25 |  | Restaurant - Lounge/Leisure | 1 | 5571 | 4784 | 0.8 | 1.1 | 1.08
4 | [28 empty] | Exterior¦Occupancy | 0.41 |  | Restaurant - Cafeteria/Fast Food | 1 | 5571 | 4784 | 0.76 | 1.1 | 1.08
5 | [28 empty] | Exterior¦Daylight | 0.25 |  | Restaurant - Family | 1 | 5571 | 4784 | 0.71 | 1.1 | 1.08
6 | [28 empty] | Exterior¦Occupancy/Daylight | 0.41 |  | Retail - Dept. Store | 0.94 | 4099 | 2935 | 0.84 | 1.06 | 1.06
7 | [28 empty] | Interior¦ | 0 |  | Retail - Strip Mall | 0.71 | 4093 | 2935 | 0.84 | 1.29 | 1.12
8 | [28 empty] | Exterior¦ | 0 |  | Retail - No Sensor Req'd | 0.71 | 4093 | 2935 | 0.84 | 1.29 | 1.12
9 | [28 empty] | Hospital - No Sensor Req'd | 0 |  | Sports Arena | 0.53 | 3506 | 5475 | 0.76 | 1.38 | 1.11
10 | [28 empty] | Interior¦Networked Lighting Controls | 0.5 |  | Town Hall | 0.52 | 2698 | 3088 | 0.69 | 1.26 | 1.1
11 | [28 empty] | Retail - No Sensor Req'd | 0 |  | Warehouse | 0.85 | 3135 | 4293 | 0.45 | 1.17 | 1.02
12 | [31 empty] | Workshop | 0.52 | 2698 | 3088 | 0.91 | 1.26 | 1.1
13 | [31 empty] | Exterior | 0 | 4303 | 4303 |  | 1 | 1
14
15
16
17
18
19 | [32 empty] | IECC 2021 LPD (W/ft2)
20 | [28 empty] | Selected Lighting Zone |  |  | Description | Lighting Zone 0 | Lighting Zone 1 | Lighting Zone 2 | Lighting Zone 3 | Lighting Zone 4 | Non-standard units | Notes | Units
21 | [28 empty] | 0 |  |  | Base Site Allowance | 0 | 350 | 400 | 500 | 900
22 | [30 empty] | Tradable Exterior | Uncovered parking areas | 0 | 0.03 | 0.04 | 0.06 | 0.08 |  |  | ft²
23 | [31 empty] | Walkways < 10 ft wide | 0 | 0.5 | 0.5 | 0.6 | 0.7 | W/[linear ft] |  | linear ft
24 | [31 empty] | Walkways >= 10 ft, plaza or special feature | 0 | 0.1 | 0.1 | 0.11 | 0.14 |  |  | ft²
25 | [31 empty] | Stairways | 0 | 0.6 | 0.7 | 0.7 | 0.7 |  |  | ft²
26 | [31 empty] | Pedestrian tunnels | 0 | 0.12 | 0.12 | 0.14 | 0.21 |  |  | ft²
27 | [31 empty] | Landscaping | 0 | 0.03 | 0.04 | 0.04 | 0.04 |  |  | ft²
28 | [31 empty] | Pedestrian and vehicular entrances and exits | 0 | 14 | 14 | 21 | 21 | W/[entrance width] |  | entrance width(ft)
29 | [31 empty] | Dining Areas | 0 | 0.65 | 0.65 | 0.75 | 0.95 |  |  | ft²
30 | [31 empty] | Entry canopies | 0 | 0.2 | 0.25 | 0.4 | 0.4 |  |  | ft²
31 | [31 empty] | Loading Docks | 0 | 0.35 | 0.35 | 0.35 | 0.35 |  |  | ft²
32 | [31 empty] | Sales canopies - free standing and attached | 0 | 0.4 | 0.4 | 0.6 | 0.7 |  |  | ft²
33 | [31 empty] | Outdoor sales - open areas | 0 | 0.2 | 0.2 | 0.35 | 0.5 |  |  | ft²
34 | [31 empty] | Street frontage for vehicle sales | 0 | 0 | 7 | 7 | 21 | W/[linear ft] |  | linear ft
35 | [30 empty] | Nontradable Exterior | Building facades | 0 | 0 | 0.075 | 0.113 | 0.15 |  | Either/or | ft²
36 | [31 empty] | Entrances/Inspection stations at guarded facilities | 0 | 0.5 | 0.5 | 0.5 | 0.5 |  | Either/or | ft²
37 | [31 empty] | Loading area: law enforcement, emergency vehicles | 0 | 0.35 | 0.35 | 0.35 | 0.35 |  | for uncovered areas only | ft²
38 | [31 empty] | Drive-through windows/doors | 0 | 200 | 200 | 200 | 200 | W |  | window(s)
39 | [31 empty] | Parking near 24-hour retail | 0 | 400 | 400 | 400 | 400 | W |  | window(s)
40 | [31 empty] | Automated teller machines | 0 | 135 | 135 | 135 | 135 | W | for first ATM | ATM(s)
41 | [31 empty] | Automated teller machines (additional units) | 0 | 45 | 45 | 45 | 45 | W | each additional ATM | ATM(s)
42
43
44
45
46 | [31 empty] | Area Description | Occ Sensors Req'd? |  | NOTES:
47 | [31 empty] | Classroom or Lecture Hall | Yes |  | 1. Interactive Factors per 2024 IL TRM version 12 Vol 2, LPDs per IECC 2021
48 | [31 empty] | Conference, Meeting or Training Room | Yes |  | 2. Office Low Rise factors used for Office space
49 | [31 empty] | Copy or Printing Room | Yes |  | 3. Worst case factors used for Hospital
50 | [31 empty] | Dressing, Locker or Fitting Room | Yes |  | 4. Mid Rise MF factors used for Multi-Familiy Common Areas
51 | [31 empty] | Employee Lunch or Break Room | Yes |  | 5. Interior ESF = 0.24 for occ sensors, and 0.38 for occ/daylight sensors per the TRM
52 | [31 empty] | Other | Yes |  | 6. Exterior ESF = 0.25 = (0.5 (12 -6) * 365)/4303 (50% dimming from midnight to 6 a.m.), per the TRM, ESF for exterior occ sensors = 0.41
53 | [31 empty] | Private Office less than 250 ft^2 | Yes |  | 7. Building Façade LPDs taken from IECC 2022
54 | [31 empty] | Restrooms | Yes
55 | [31 empty] | Storage or Supply Room Between 50 ft^2 and 1,000 ft^2 | Yes
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
[8 empty] | 0 | Interior Sq.Footage | [16 empty] | Interior Savings: | 0
[8 empty] | 0 | Exterior Sq.Footage | [16 empty] | Exterior Savings: | 0
[26 empty] | Ineligible Interior: | 0
[26 empty] | Ineligible Exterior: | 0
Lighting Zone 1
Lighting Zone 2
Lighting Zone 3
Lighting Zone 4

## Lighting-Step3
Lighting - STEP 3: Verifying Annual Lighting Savings
INSTRUCTIONS: Review the estimated values below. If any appear inaccurate, please correct the information entered for Steps 1 and 2 on the previous tabs. This tab is for review only and is not editable.
|  |  | Description | Value
Interior Lighting |  |  | Estimated cost/kWh | 0.06
Estimated annual energy savings [kWh] - Deemed |  |  | Exterior incentive rate [$/kWh] | 0.17
Demand Savings [kW] | 0 |  | Lighting incentive cap | 150000
Estimated Cost Savings |  |  | Maximum operating hours | 8760
Annual Operating Hours - Deemed |  |  | Interior rate awarded | #N/A
Annual Operating Hours - Actual | 0 |  | Total Interior proposed kW | 0
Baseline LPD (Lighting Power Density), [W/ft²] |  |  | Ineligible Interior proposed kW | 0
Proposed Aggregate LPD, [W/ft²] |  |  | Total Exterior proposed kW | 0
Percent Improvement Over LPD Baseline (Based IECC 2021/ASHRAE 90.1-2019) |  |  | Ineligible Exterior proposed kW | 0
Tier Level
Incentive @ $/kWh | 0
|  | Num | Tier | Low | High | Incentive/kWh
Exterior Lighting |  | 0 | Minimum 15% improvement required for incentive | 0 | 15% | 0
Estimated Annual kWh Savings |  | 1 | Tier 1: 15% - 24.99% $0.16/kWh | 15% | 24.99% | 0.16
Incentive @ $0.17/kWh | 0 | 2 | Tier 2: 25% - 34.99% $0.17/kWh | 25% | 34.99% | 0.17
|  | 3 | Tier 3: 35% - 100% $0.18/kWh | 35% | 100% | 0.18
Total Estimated Incentive
Calculated Incentive (capped at $150,000) | 0
For_internal_use_only: int.kWh-actual
total kWh - deemed | 0
total kWh - actual
years useful life
useful life source | TRM Deemed

## HVAC-Heating
HVAC - Heating Equipment
INSTRUCTIONS: • STOP - Before filling in this tab, complete the 'PROJECT INFO' tab. Some incentive amounts will not calculate correctly until a 'Sector' is selected in the 'Facility/Project Description' section of that tab. • Find the equipment for which you are requesting incentive, below • Enter required information into the yellow cells, left to right. White cells will automatically populate. • If more rows are needed, click the '+' sign on the left of the screen where indicated • Review the 'SUMMARY' tab to verify that the incentive amount is as expected
High Efficiency Gas Furnaces
• Must have Ameren Illinois natural gas service to qualify
• Equipment must be listed on the AHRI website: https://www.ahridirectory.org/Search/SearchHome
• Equipment must meet minimum 94% AFUE • Unit must be 40 - 225 kBtuh input; larger units may qualify as 'Gas Air Heater' (below) if they are also condensing units • Furnace must have brushless DC or electrically commutated fan blower motor (ECM) • Fuel must be natural gas (not propane)
Number of Units Installed | Unit kBtuh (MBH) Input | Actual AFUE | Furnace Blower Fan used for A/C? | Manufacturer and Model | Size Range | Measure Code | Incentive | Incentive Requested
<--- Click '+' on the left for ADDITIONAL ROWS
Gas Air Heaters
• Must have Ameren Illinois natural gas service to qualify • If the furnace qualifies as a High Efficiency Gas Furnace (94% AFUE min, above) measure BPH7 must be used; the unit is not eligible for this measure • Eligible units may include: furnace heating 100% outside air, dedicated outdoor air system (DOAS), make-up air system (MUAS), or furnace over 225 kBtuh input capacity • Unit must contain condensing warm air furnace with gas thermal efficiency (TE) of 90% or higher. If not listed, TE equals nameplate gas heating output divided by gas heating input. This rating must be certified by a recognized testing laboratory in accordance with American National Standards Institute (ANSI) Standard Z21.47 for Gas-Fired Central Furnaces. Please provide verifiable third-party certification.
Number of Units Installed | Unit Size in kBtuh | Unit Volume in cfm | Facility Operating Hrs | Manufacturer and Model |  | Measure Code | Incentive | Incentive Requested
<--- Click '+' on the left for ADDITIONAL ROWS
HTHV Direct Fired Heaters
• Must have Ameren Illinois natural gas service to qualify • Equipment must be an indirect fired gas or steam unit heater or a rooftop unit as primary space heating source • Must be a 100% outside air, High Temperature Heating and Ventilation (HTHV) direct fired gas heater • Must have a discharge temperature greater than or equal to 150°F and temperature rise greater than or equal to 140°F • Must have an efficiency exceeding 92% • Must be used in a warehouse or light industrial facility with ceiling height over 20ft and no destratification technologies (ceiling fans or air turnover units)
Number of Units Installed | Unit Capacity in kBtuh |  |  |  |  | Measure Code | Incentive | Incentive Requested
<--- Click '+' on the left for ADDITIONAL ROWS
Infrared Heaters
• Unit must be 20 - 250 kBtuh input • Heater must use natural gas (may be radiant tube or ceramic infrared type) • Must have an electric ignition • Must use outdoor or non-conditioned air for combustion • Outdoor installations do not qualify
Number of Units Installed | Unit Capacity in kBtuh | Manufacturer and Model |  |  |  | Measure Code | Incentive | Incentive Requested
<--- Click '+' on the left for ADDITIONAL ROWS
Gas Boilers
• Must have Ameren Illinois natural gas service to qualify
• New natural gas fueled, hot water or steam boiler
• Equipment must be listed on the AHRI website: https://www.ahridirectory.org/Search/SearchHome
• Boiler must be used for at least 80% space heating (not process) • Hot water boiler 93% minimum efficiency; steam boiler 91% minimum efficiency (AFUE or thermal efficiency (TE) • Installation of hot water boilers only; new steam boilers are not eligible for this measure
Number of Units Installed | Unit kBtuh (MBH) Input | Existing System Type | AFUE or TE | Manufacturer and Model | Size Range | Measure Code | Incentive | Incentive Requested
<--- Click '+' on the left for ADDITIONAL ROWS
Air-Source Heat Pumps, see the 'HVAC - Cooling' tab

## HVAC-Cooling
HVAC - Cooling Equipment
INSTRUCTIONS: • STOP - Before filling in this tab, complete the 'PROJECT INFO' tab. Some incentive amounts will not calculate correctly until a 'Sector' is selected in the 'Facility/Project Description' section of that tab. • Find the equipment for which you are requesting incentive, below • Enter required information into the yellow cells, left to right. White cells will automatically populate. • If more rows are needed, click the '+' sign on the left of the screen where indicated • Review the 'SUMMARY' tab to verify that the incentive amount is as expected
Air Conditioners (including RTUs)
• Must have Ameren Illinois electric service. • New installation or replacement unitary or split system air conditioner with new unit of equivalent capacity. • Must meet minimum efficiencies indicated in Additional Criteria, below.
Number of Units Installed | Unit Tons | Unit Efficiency (SEER2 for units < 5.4 Tons) (IEER for units ≥ 5.4 Tons) | New COP | New kBtuh | Additional Criteria |  | Measure Code | Incentive | Incentive Requested
BPC5
BPC5
BPC5
BPC5
BPC5
BPC5
BPC5
BPC5
<--- Click '+' on the left for ADDITIONAL ROWS
Air-Source Heat Pumps
• Must have Ameren Illinois electric service. • New installation or replacement unitary or split-system air-source heat pump with new unit of equivalent capacity. • Must meet minimum efficiencies indicated in Additional Criteria, below.
Number of Units Installed | Unit Tons | Unit IEER Rating | New COP | New kBtuh | Additional Criteria |  | Measure Code | Incentive | Incentive Requested
BPC6
BPC6
BPC6
BPC6
BPC6
BPC6
BPC6
BPC6
<--- Click '+' on the left for ADDITIONAL ROWS
Air-cooled Chillers
• Must have Ameren Illinois electric service to qualify • Chiller must be used at least 80% for space cooling (not process) • Only single-chiller configurations may be submitted using this measure. Multiple-chiller configurations should use the 'Custom' tab • IPLV code minimums can be found in IECC Table C403.3.2(3) at https://codes.iccsafe.org/content/IECC2021V3.0
Number of Units Installed | Unit Size in Tons | IECC Code Path A IPLV EER Rating | New Unit IPLV EER Rating |  |  |  | Measure Code | Incentive | Incentive Requested
BPC12
BPC12
<--- Click '+' on the left for ADDITIONAL ROWS
Water-cooled Chillers
• Must have Ameren Illinois electric service. • New installation or replacement water-cooled chiller, used for at least 80% space cooling (not process). • IPLV code minimums can be found in IECC Table C403.3.2(3) at https://codes.iccsafe.org/content/IECC2021V3.0
Number of Units Installed | Unit Size in Tons | IECC Code Path A IPLV Rating | New Unit IPLV Rating | Chiller Type |  |  | Measure Code | Incentive | Incentive Requested
BPC10
BPC10
<--- Click '+' on the left for ADDITIONAL ROWS
PTAC/PTHP Units
• Must have Ameren Illinois electric service. • Must have minimum 13 EER rating
Number of Units Installed | Unit Type | Per Unit Cooling Capacity (kBtuh) | Per Unit Heating Capacity (kBtuh) |  | EER Rating | COP rating (if PTHP) | Measure Code | Incentive | Incentive Requested
BPC27
BPC27
BPC27
<--- Click '+' on the left for ADDITIONAL ROWS
Notched V-Belts
• Must have Ameren Illinois electric service. • Notched V-belt replacing standard smooth fan belt. • Must be installed on supply or return air fan. • If installing multiple belts on motors of different sizes, attach a table indicating HP and motor efficiency for each
Number of Units Installed | Belt Type |  | Motor HP |  | Motor Efficiency (%) |  | Measure Code | Incentive | Incentive Requested
BPH16
BPH16
BPH16

## Hot Water
HVAC - Water Heating Equipment
INSTRUCTIONS: • STOP - Before filling in this tab, complete the 'PROJECT INFO' tab. Some incentive amounts will not calculate correctly until a 'Sector' is selected in the 'Facility/Project Description' section of that tab. • Find the equipment for which you are requesting incentive, below • Enter required information into the yellow cells, left to right. White cells will automatically populate. • If more rows are needed, click the '+' sign on the left of the screen where indicated • Review the 'SUMMARY' tab to verify that the incentive amount is as expected
Heat Pump Water Heaters
• Must have Ameren Illinois electric service. • New installation or replacement heat pump water heater
Number of Units Installed | New Unit Capacity (Tons) | New Unit IPLV Rating | New Peak Efficiency (Full-Load EER) | Measure Code | Incentive | Incentive Requested
BPWH8
Controls for Multifamily Facility Hot Water
• Must have Ameren Illinois natural gas service to qualify • Recirculating pump shall cycle based on: o Recirculation loop return water dropping below a prescribed temperature (e.g. 100°F) o Centralized domestic hot water (CDHW) demand is sensed as water flow through the CDHW system
Number of Living Units Served |  |  |  | Measure Code | Incentive | Incentive Requested
BPWH7
Commercial Tanked Water Heaters (Gas)
• Must have Ameren Illinois natural gas service to qualify • Must have storage capacity of 50 or more gallons and input of at least 75 MBTUH • Thermal efficiency must be at least 88%
Number of Units Installed |  |  |  | Measure Code | Incentive | Incentive Requested
BPWH5
Gas Boilers (see the 'HVAC - Heating' tab)

## Custom-Electric
| Custom Electric Project | [9 empty] | ↑ Click '+' above to enter ADDITIONAL ELECTRIC PROJECTS
INSTRUCTIONS: • STOP - Before filling in this tab, complete the 'PROJECT INFO' tab. Some incentive amounts will not calculate correctly until a 'Sector' is selected in the 'Facility/Project Description' section of that tab. • Enter required information into the yellow cells, left to right. White cells will automatically populate. • Review the 'SUMMARY' tab to verify that the incentive amount is as expected. • REQUIRED DOCUMENTATION: in addition to the documents listed in the 'AGREEMENT' tab, include the following: - Calculations documenting the predicted energy consumption of the baseline usage and proposed design using appropriate analytical tools and clearly stated assumptions. Calculations may be performed manually, but spreadsheet or computer modeling analysis is preferred. - Assumptions, such as operating hours, baseline and proposed equipment, and operational details, must be presented. - List of system requirements (load, pressure, flows, etc.) and control strategies - For HVAC energy models, submit files exported to EnergyPlus (.IDF) or DOE2 (.INP) file formats. In cases where files cannot be exported to these formats (e.g. Trane 700, Carrier HAP) submit files in their native format. - Carrier HAP and Trane HVAC models are acceptable for most HVAC upgrades. More complex projects may benefit from different software, additional calculations, or energy metering.
| Project Description |  |  |  | Custom Electric Project #2 |  | Custom Electric Project #3 |  | Custom Electric Project #4
Baseline electric operating conditions - What would operating conditions be if the project does not proceed (i.e. system settings, schedules, equipment)? This may be a description of current conditions or a description of minimum operating requirements per existing codes. Include reasoning to support why baseline choice(s) are appropriate.
Changes resulting in improved electric efficiency - Which change(s) will be made to improve energy efficiency? Include a summary of updated or replaced equipment, settings, schedule, etc. and how these changes will be maintained or managed going forward.
Post-implementation operating conditions - What will operating conditions be after the project is complete?
| Electric Incentives Estimate |  |  |  | Project #2 |  | Project #3 |  | Project #4
| Description | Instructions | Responses |  | Responses |  | Responses |  | Responses
A | Baseline Annual Consumption | Current energy use or, for new construction or equipment at end of expected useful life (EUL), enter the energy used under theoretical standard-efficiency or code-minimum conditions. |  | kWh |  | kWh |  | kWh |  | kWh |  | Rate Code | isDS2 value
B | New Efficient Annual Consumption | Projected energy use after project completion. Provide documentation to support this value (e.g. calculations, models, equipment specifications, trend data). |  | kWh |  | kWh |  | kWh |  | kWh |  | Select from drop-down list | FALSE
C | Annual Electric Energy Savings | [C = A – B] | 0 | kWh | 0 | kWh | 0 | kWh | 0 | kWh |  | Yes - DS2 | TRUE
D | Is your electric delivery service rate DS2? |  | Select from drop-down list | [8 empty] | No - Not DS2 | FALSE
E | Base Custom Incentive (before applicable caps) | Private sector: $0.16 x (min. of [C] and 3,125,000) + $0.06 x (max. of 0 and [C-3,125,000]). Public sector and DS2: $0.20 x (min. of [C] and 3,125,000) + $0.06 x (max. of 0 and [C-3,125,000]). | 0 |  | 0 |  | 0 |  | 0
F | Your Electric Rate | Total of annual electricity costs, divided by annual billed kWh
G | Annual Energy Cost Savings | [G = C x F] | 0 |  | 0 |  | 0 |  | 0
H | Materials Cost* | Provide quote or proposal to support this value.
J | External Labor Cost* | Provide quote or proposal to support this value.
K | Internal Labor Cost* (optional) | Internal labor costs must meet documentation requirements.** | [9 empty] | isDS2
L | Total Electric Project Cost | [L = H + J + K] | 0 |  | 0 |  | 0 |  | 0 |  |  | FALSE
M | Payback Before Incentive | [M = L / G] Must be between 1 month and 12 years to be eligible. | 0 | years | 0 | years | 0 | years | 0 | years
N | Payback After Incentive | [N = (L – E) / G] Capped if value is less than 1 month (0.083 years). | 0 | years | 0 | years | 0 | years | 0 | years
O | Incentive Percent of Cost | [P = E / L x 100] Ineligible if less than 10%, capped at 80%. | 0 | % | 0 | % | 0 | % | 0 | %
P | Estimated Custom Electric Incentive (Pending preapproval and final technical review) | Base incentive [E], capped if necessary at 1 month payback after incentive [N], 80% of project cost [P], or HVAC cap [S]. Incentives over $500,000 likely to be reduced based on available budget. | 0 |  | 0 |  | 0 |  | 0
| Complete this block for HVAC Related Projects Only: Modeled/calculated Custom HVAC incentives are capped at $0.20 per annual therm consumption (private non-GS2) or $0.40 per annual therm consumption (public/GS2). |  |  |  | HVAC Only: Project #2 |  | HVAC Only: Project #3 |  | HVAC Only: Project #4
Q | Total annual metered electric energy consumption |  |  | kWh |  | kWh |  | kWh |  | kWh
R | Percent of total metered space impacted by the project (total sq.ft. / impacted sq.ft. x 100) |  |  | % |  | % |  | % |  | %
S | Electric HVAC Incentive Cap (Private non-DS2: $0.03 x [Q] x [R]. Public/DS2: $0.045 x [Q] x [R].) |  | 0 |  | 0 |  | 0 |  | 0
* If baseline is the existing condition, use full electric project costs. When using a theoretical baseline, use incremental costs of the proposed efficiency project over a standard-efficiency or code-minimum project.
** For preapproval, provide description/scope of work to be completed by internal labor. For final approval, please provide the following documentation:
• Employee title/trade, rate, and hours directly associated with the development or implementation of the project
• A description of project-related activities conducted.
• Reasonable employee rates (i.e. comparable to US Department of Labor prevailing wage)
• May submit an accounting summary of the hours associated with the project from an internal hours/billing system

## Custom-Gas
| Custom Gas Project | [9 empty] | ↑ Click '+' above to enter ADDITIONAL GAS PROJECTS
INSTRUCTIONS: • STOP - Before filling in this tab, complete the 'PROJECT INFO' tab. Some incentive amounts will not calculate correctly until a 'Sector' is selected in the 'Facility/Project Description' section of that tab. • Enter required information into the yellow cells, left to right. White cells will automatically populate. • Review the 'SUMMARY' tab to verify that the incentive amount is as expected. • REQUIRED DOCUMENTATION: in addition to the documents listed in the 'AGREEMENT' tab, include the following: - Calculations documenting the predicted energy consumption of the baseline usage and proposed design using appropriate analytical tools and clearly stated assumptions. Calculations may be performed manually, but spreadsheet or computer modeling analysis is preferred. - Assumptions, such as operating hours, baseline and proposed equipment, and operational details, must be presented. - List of system requirements (load, pressure, flows, etc.) and control strategies - For HVAC energy models, submit files exported to EnergyPlus (.IDF) or DOE2 (.INP) file formats. In cases where files cannot be exported to these formats (e.g. Trane 700, Carrier HAP) submit files in their native format. - Carrier HAP and Trane HVAC models are acceptable for most HVAC upgrades. More complex projects may benefit from different software, additional calculations, or energy metering.
| Project Description |  |  |  | Custom Gas Project #2 |  | Custom Gas Project #3 |  | Custom Gas Project #4
Baseline gas operating conditions - What would operating conditions be if the project does not proceed (i.e. system settings, schedules, equipment)? This may be a description of current conditions or a description of minimum operating requirements per existing codes. Include reasoning to support why baseline choice(s) are appropriate.
Changes resulting in improved gas efficiency - Which change(s) will be made to improve energy efficiency? Include a summary of updated or replaced equipment, settings, schedule, etc. and how these changes will be maintained or managed going forward.
Post-implementation operating conditions - What will operating conditions be after the project is complete?
| Electric Incentives Estimate |  |  |  | Project #2 |  | Project #3 |  | Project #4
| Description | Instructions | Responses |  | Responses |  | Responses |  | Responses
A | Baseline Annual Consumption | Current energy use or, for new construction or equipment at end of expected useful life (EUL), enter the energy used under theoretical standard-efficiency or code-minimum conditions. |  | therms |  | therms |  | therms |  | therms
B | New Efficient Annual Consumption | Projected energy use after project completion. Provide documentation to support this value (e.g. calculations, models, equipment specifications, trend data). |  | therms |  | therms |  | therms |  | therms |  | FALSE
C | Annual Natural Gas Energy Savings | [C = A – B] | 0 | therms | 0 | therms | 0 | therms | 0 | therms
D | Is your electric delivery service rate GS2? |  | Select from drop-down list | [8 empty] | Rate Code | isDS2 value
E | Base Custom Incentive (before applicable caps) | Private sector: $1.00 x (min. of [C] and 100,000) + $0.50 x (max. of 0 and [C-100,000]). Public sector and DS2: $2.00 x (min. of [C] and 100,000) + $0.50 x (max. of 0 and [C-100,000]). | 0 |  | 0 |  | 0 |  | 0 |  |  | Select from drop-down list | FALSE
F | Your Natural Gas Rate | Total of annual natural gas costs, divided by annual billed kWh | [9 empty] | Yes - GS2/GDS2 | TRUE
G | Annual Energy Cost Savings | [G = C x F] | 0 |  | 0 |  | 0 |  | 0 |  |  | No - Not GS2/GDS2 | FALSE
H | Materials Cost* | Provide quote or proposal to support this value.
J | External Labor Cost* | Provide quote or proposal to support this value.
K | Internal Labor Cost* (optional) | Internal labor costs must meet documentation requirements.**
L | Total Gas Project Cost | [L = H + J + K] | 0 |  | 0 |  | 0 |  | 0
M | Payback Before Incentive | [M = L / G] Must be between 1 month and 12 years to be eligible. | 0 | years | 0 | years | 0 | years | 0 | years
N | Payback After Incentive | [N = (L – E) / G] Capped if value is less than 1 month (0.083 years). | 0 | years | 0 | years | 0 | years | 0 | years
O | Incentive Percent of Cost | [P = E / L x 100] Ineligible if less than 10%, capped at 80%. | 0 | % | 0 | % | 0 | % | 0 | %
P | Estimated Custom Natural Gas Incentive (Pending preapproval and final technical review) | Base incentive [E], capped if necessary at 1 month payback after incentive [N], 80% of project cost [P], or HVAC cap [S]. Incentives over $500,000 likely to be reduced based on available budget. | 0 |  | 0 |  | 0 |  | 0
isGS2
FALSE
| Complete this block for HVAC Related Projects Only: Modeled/calculated Custom HVAC incentives are capped at $0.20 per annual therm consumption (private non-GS2) or $0.40 per annual therm consumption (public/GS2). |  |  |  | HVAC Only: Project #2 |  | HVAC Only: Project #3 |  | HVAC Only: Project #4
Q | Total annual metered natural gas energy consumption |  |  | therms |  | therms |  | therms |  | therms
R | Percent of total metered space impacted by the project (total sq.ft. / impacted sq.ft. x 100) |  |  | % |  | % |  | % |  | %
S | Gas HVAC Incentive Cap (Private non-GS2: $0.20 x [Q] x [R]. Public/GS2: $0.40 x [Q] x [R].) |  | 0 |  | 0 |  | 0 |  | 0
* If baseline is the existing condition, use full gas project costs. When using a theoretical baseline, use incremental costs of the proposed efficiency project over a standard-efficiency or code-minimum project.
** For preapproval, provide description/scope of work to be completed by internal labor. For final approval, please provide the following documentation:
• Employee title/trade, rate, and hours directly associated with the development or implementation of the project
• A description of project-related activities conducted.
• Reasonable employee rates (i.e. comparable to US Department of Labor prevailing wage)
• May submit an accounting summary of the hours associated with the project from an internal hours/billing system

## Custom-Water
Additional Incentive for Custom Water Savings |  |  |  |  | ↑ Click '+' above to enter ADDITIONAL WATER PROJECTS
INSTRUCTIONS: • STOP - Before filling in this tab, complete the 'PROJECT INFO' tab. Some incentive amounts will not calculate correctly until a 'Sector' is selected in the 'Facility/Project Description' section of that tab. • Custom water savings are to be applied for in conjunction with a Custom Electric project • Enter required information into the yellow cells, left to right. White cells will automatically populate. • Review the 'SUMMARY' tab to verify that the incentive amount is as expected.
Project Description |  | Custom Water Project #2 | Custom Water Project #3 | Custom Water Project #4
Baseline water-related operating conditions - What would operating conditions be if the project does not proceed (i.e. system settings, schedules, equipment)? This may be a description of current conditions or a description of minimum operating requirements per existing codes. Include reasoning to support why baseline choice(s) are appropriate.
Changes resulting in reduction of water use - Which change(s) will be made to improve energy efficiency? Include a summary of updated or replaced equipment, settings, schedule, etc. and how these changes will be maintained or managed going forward.
Post-implementation operating conditions - What will operating conditions be after the project is complete?
Baseline/Existing Water Use |  | Project #2 | Project #3 | Project #4
Description of BASELINE Water Conditions
BASELINE Potable Water Supply Use (gallons per year)
BASELINE Wastewater Treatment Disposal (gallons per year)
Proposed Efficient Water Use |  | Project #2 | Project #3 | Project #4
Description of EFFICIENT Water Conditions
EFFICIENT Potable Water Supply Use (gallons per year)
EFFICIENT Wastewater Treatment Disposal (gallons per year)
Savings and Incentive Calculation |  | Project #2 | Project #3 | Project #4
Reduced Potable Water Use (gallons per year) | 0 | 0 | 0 | 0
Reduced Wastewater Use (gallons per year) | 0 | 0 | 0 | 0
Reduced Water Use (Supply and Waste) (gallons per year) | 0 | 0 | 0 | 0
Reduced Water Use (Supply and Waste) (1000 gallons per year) | 0 | 0 | 0 | 0
Additional Custom Incentive | 0 | 0 | 0 | 0

## Hospitality
Specialty Equipment - Hospitality
INSTRUCTIONS: • STOP - Before filling in this tab, complete the 'PROJECT INFO' tab. Some incentive amounts will not calculate correctly until a 'Sector' is selected in the 'Facility/Project Description' section of that tab. • Find the equipment for which you are requesting incentive, below • Enter required information into the yellow cells, left to right. White cells will automatically populate. • If more rows are needed, click the '+' sign on the left of the screen where indicated • Review the 'SUMMARY' tab to verify that the incentive amount is as expected
Green Nozzles
• Must have Ameren Illinois electric/gas service to qualify
Description |  |  | Incentive
Call toll free 1.866.800.0747 for details (Replaces current pre-rinse spray nozzle with low flow nozzle) |  |  | FREE to you - $100 retail value
Laundry: Ozone System
• Must have Ameren Illinois natural gas service to qualify • Must serve a conventional commercial laundry system using natural gas, with total load capacity of 100-400 lbs • Must transfer ozone into the water through venturi injection or bubble infusion
Number of Units Installed | Total Capacity / Size in lbs. | Measure Code | Incentive | Incentive Requested
<--- Click '+' on the left for ADDITIONAL ROWS
Laundry: Commercial Dryer Moisture Sensor
• Must have Ameren Illinois natural gas service to qualify • Install a moisture sensing controller on a commercial natural gas clothes dryer • Eligible facility types include: Hotel/Motel, Fitness & Recreational Sports Centers, Dry Cleaners, Hospitals, Assisted living facilities, Multifamily buildings. All other building types should apply using the custom application.
Number of Units Installed | Facility Type | Measure Code | Incentive | Incentive Requested
Commercial Pool Cover
• Must have Ameren Illinois natural gas service to qualify • Pool must be a commercial use swimming pool with natural gas heated water • Must be an insulated vinyl cover, covering the entire pool, with minimum 5 year warranty
Size of Pool in ft2 | Location | Measure Code | Incentive | Incentive Requested
Pool Pump VFD
• Must have Ameren Illinois electric service to qualify • ENERGY STAR-certified variable speed pool pump • Must drive a variable load • Pumps greater than 3 hp should apply under the Standard VFD application • Must be installed on AC motor (DC motors are not eligible) • Redundant/backup units do not qualify • Minimum equipment operating hours 1,200/year
Number of Pumps Installed | hp per Pump | Measure Code | Incentive | Incentive Requested
<--- Click '+' on the left for ADDITIONAL ROWS

## Refrigeration
Specialty Equipment - Refrigeration
INSTRUCTIONS: • STOP - Before filling in this tab, complete the 'PROJECT INFO' tab. Some incentive amounts will not calculate correctly until a 'Sector' is selected in the 'Facility/Project Description' section of that tab. • Find the equipment for which you are requesting incentive, below • Enter required information into the yellow cells, left to right. White cells will automatically populate. • If more rows are needed, click the '+' sign on the left of the screen where indicated • Review the 'SUMMARY' tab to verify that the incentive amount is as expected
Evaporator Fan EC Motor Controls
• Must have Ameren Illinois electric service to qualify • Minimum of 1/20 HP where fans operate continuously at full speed • Must reduce fan motor power by at least 75% during the off cycle • Compressor must not run more than 4380 hours annually • Evaporator fan motor must not run on poly-phase power • Evaporator must use off-cycle or time-off defrost
Quantity of Controlers | Qty of Motors Controlled | Motor Size |  | Measure Code | Incentive | Incentive Requested
<--- Click '+' on the left for ADDITIONAL ROWS
Q-Sync Motors
• Must have Ameren Illinois electric service to qualify • Must be a Q-Sync motor with minimum 73% motor efficiency (as listed by manufacturer) and fan motor rating of 9-12W
Quantity of Motors | Motor Type/Use |  |  | Measure Code | Incentive | Incentive Requested
[INTERNAL NOTE: EC Motor is baseline]
<--- Click '+' on the left for ADDITIONAL ROWS

## Industrial
Specialty Equipment - Industrial
INSTRUCTIONS: • STOP - Before filling in this tab, complete the 'PROJECT INFO' tab. Some incentive amounts will not calculate correctly until a 'Sector' is selected in the 'Facility/Project Description' section of that tab. • Find the equipment for which you are requesting incentive, below • Enter required information into the yellow cells, left to right. White cells will automatically populate. • If more rows are needed, click the '+' sign on the left of the screen where indicated • Review the 'SUMMARY' tab to verify that the incentive amount is as expected
1
Battery Chargers
• Must have Ameren Illinois electric service to qualify • Installation of high frequency battery chargers used for industrial, battery-operated equipment (such as forklifts) • Minimum power conversion efficiency of 90% • Minimum 8-hour shift operation five days per week
Quantity Installed | Number of Shifts | Measure Code | Incentive | Incentive Requested

## Measure Data (hidden)
High Efficiency Gas Furnaces
| Measure Code | Measure Description | min kBtuh input | max kBtuh input | min AFUE |  |  | Public Incentive | Private Incentive | per Unit
| INELIGIBLE | INELIGIBLE | 0 | 40
| BPH7 | 40 - 140 kBtuh input | 40 | 140 | 94% |  |  | 800 | 400 | unit installed | Yes
| BPH7 | 141 - 225 kBtuh input | 141 | 225 | 94% |  |  | 900 | 500 | unit installed | No
| INELIGIBLE | INELIGIBLE | 226 | <--- this number (1+the upper eligibility limit) helps the LOOKUP function work
Gas Air Heaters
| Measure Code | Measure Description |  |  | min gas thermal efficiency |  |  | Public Incentive | Private Incentive | per Unit | 24 hr/7 days
| BPH20 | HVAC condensing furnace |  |  | 90% |  |  | 4.5 | 3 | kBtuh | 19 hr/7 days
14 hr/7 days
14 hr/5 days
HTHV Direct Fired Heaters
| Measure Code | Measure Description | min efficiency | min discharge temperature [F] | min temperature rise [F] |  |  | Public Incentive | Private Incentive | per Unit
| BPH24 | High temperature heating and ventilation direct fired gas heater | 92% | 150 | 140 |  |  | 6 | 6 | kBtuh
Infrared Heaters
| Measure Code | Measure Description | min kBtuh input | max kBtuh input |  |  |  | Public Incentive | Private Incentive | per Unit
| BPH10 | 20 - 250 kBtuh input | 20 | 250 |  |  |  | 1.25 | 1.25 | unit installed
Gas Boilers
| Measure Code | Measure Description | min kBtuh input | max kBtuh input |  |  |  | Public Incentive | Private Incentive | per Unit | System Types
| BPH4 | Up to 299 kBtuh input | 1 | 299 |  |  |  | 1000 | 800 | unit installed | steam boiler
| BPH4 | 300 to 499 kBtuh input | 300 | 499 |  |  |  | 1700 | 1100 | unit installed | hot water boiler
| BPH4 | 500 to 999 kBtuh input | 500 | 999 |  |  |  | 2800 | 2150 | unit installed | new instalation
| BPH4 | 1,000 to 1,699 kBtuh input | 1000 | 1699 |  |  |  | 5100 | 3800 | unit installed
| BPH4 | 1,700 kBtuh input and higher | 1700 | 999999999.999 |  |  |  | 7000 | 5200 | unit installed
Air-Source Heat Pumps
| Measure Code | Measure Description | min Tons | max Tons | min COP | min IEER | combined requirement | Public Incentive | Private Incentive | per Unit
| BPC6 | Less than 5.4 Tons input | 0.1 | 5.4 | 3.5 | 14 | min COP 3.5, min IEER 14 | 350 | 350 | unit installed
| BPC6 | 5.4 to 11.24 Tons input | 5.4 | 11.24 | 3.5 | 14 | min COP 3.5, min IEER 14 | 350 | 350 | unit installed
| BPC6 | 11.25 to 19.9 Tons input | 11.25 | 19.9 | 3.5 | 14 | min COP 3.5, min IEER 14 | 630 | 630 | unit installed
| BPC6 | 20 to 63.2 Tons input | 20 | 63.2 | 3.4 | 13 | min COP 3.4, min IEER 13 | 900 | 900 | unit installed
x | BPC6 | 63.3 or more Tons input | 63.3 | 999999999999 | 3.4 | 12.1 | min COP 3.4, min IEER 12.1 | 2100 | 2100 | unit installed
Air-cooled Chillers
| Measure Code | Measure Description | New Unit Capacity | Code Minimum Path A IPLV EER Rating | New Unit IPLV EER Rating |  |  | Public Incentive | Private Incentive | per Unit
| BPC12 | Air-cooled Chillers | [5 empty] | 12 | 12 | ton/EER improvement
PTAC/PTHP Units
| Measure Code | Measure Description | New Unit Cooling Capacity (kBtuh) | New PTHP Heating Capacity (kBtuh) | New Unit EER or SEER | New PTHP COP | Quantity Installed | Public Incentive | Private Incentive | per Unit | Unit Type
| BPC27 | Less than 65 kBtuh, minimum 13 EER | [5 empty] | 40 | 40 | unit installed | PTAC
PTHP
Controls for Multifamily Facility Hot Water
| Measure Code | Measure Description | [5 empty] | Public Incentive | Private Incentive | per Unit
| BPWH7 | Controls for centralized domestic hot water system | [5 empty] | 50 | 50 | living unit served
Commercial Tankless Water Heaters (Electric)
| Measure Code | Measure Description | min GPM | max GPM | Display Range |  |  | Public Incentive | Private Incentive | per Unit
| BPWH2 | 5.0-9.9 GPM, minimum 70°F temperature rise and 0.98 energy factor | 5 | 9.99 | from 5 to 9.99 input GPM |  |  | 500 | 500 | heater
| BPWH2 | 5.0-9.9 GPM, minimum 70°F temperature rise and 0.98 energy factor | 10 | 14.99 | from 10 to 14.99 input GPM |  |  | 500 | 500 | heater
| BPWH2 | 5.0-9.9 GPM, minimum 70°F temperature rise and 0.98 energy factor | 15 |  | 15 GPM input or greater |  |  | 500 | 500 | heater
Commercial Tanked Water Heaters (Gas)
| Measure Code | Measure Description | [5 empty] | Public Incentive | Private Incentive | per Unit
| BPWH5 | Minimum 50 gal, 75 MBTUH and 88% efficiency | [5 empty] | 225 | 150 | heater
Custom Projects
| Measure Code | Measure Description |  | Graduated Tier Limit | Graduated Tier Rate |  |  | Public/DS2 Incentive | Private Incentive | per Unit
| CI-E | Custom electric project |  | 3125000 | 0.06 |  |  | 0.2 | 0.16 | kWh
| CI-G | Custom gas project |  | 100000 | 0.5 |  |  | 2 | 1 | Therm
| CI-W | Additional incentive for water savings | [5 empty] | 0.3 | 0.3 | kgal
Hospitality Facility Type Subcategories
Fast food (closes 11pm or earlier)
Fast Food (open past 11pm)
Pizza
Cafeteria
Full Service (closes 11pm or earlier)
Full Service (open past 11pm)
Hot Holding Cabinets (Electric)
| Measure Code | Measure Description |  | Cabinet Size |  |  | Measure Code (for lookup) | Public Incentive | Private Incentive | per Unit
| BPCK5 | Half-Size Electric Hot Holding Cabinet (< 10cu ft) |  | Half size (< 10 cu ft) |  |  | BPCK5 | 700 | 700 | cabinet
| BPCK6 | Three-Quarter Electric Hot Holding Cabinet (10-16 cu ft) |  | Three-quarter size (10 - 16 cu ft) |  |  | BPCK6 | 900 | 900 | cabinet
| BPCK7 | Full-Size Electric Hot Holding Cabinet (> 16 cu ft) |  | Full size (> 16 cu ft) |  |  | BPCK7 | 1100 | 1100 | cabinet
Griddles (Electric and Gas)
| Measure Code | Measure Description | [5 empty] | Public Incentive | Private Incentive | per Unit
| BPCK8 | Electric Griddle | [5 empty] | 180 | 180 | griddle
| BPCK11 | Gas Griddle | [5 empty] | 750 | 250 | griddle
Commercial Fryers (Gas)
| Measure Code | Measure Description | [5 empty] | Public Incentive | Private Incentive | per Unit
| BPCK12 | Gas commercial fryer | [5 empty] | 2000 | 900 | fryer
Pasta Cookers (Gas)
| Measure Code | Measure Description | [5 empty] | Public Incentive | Private Incentive | per Unit
| BPCK19 | Gas commercial fryer | [5 empty] | 2000 | 1000 | cooker
Ovens (Electric and Gas)
Convection Ovens (Electric)
| Measure Code | Measure Description | [5 empty] | Public Incentive | Private Incentive | per Unit
| BPCK23 | Electric Convection Oven | [5 empty] | 500 | 500 | oven
Combination Ovens (Electric and Gas)
| Measure Code | Measure Description | [5 empty] | Public Incentive | Private Incentive | per Unit
| BPCK25 | Electric combination steam/convection oven | [5 empty] | 500 | 500 | oven
| BPCK28 | Gas combination steam/convection oven | [5 empty] | 1100 | 600 | oven
Double Rack Ovens (Gas)
| Measure Code | Measure Description | Min baking efficiency |  |  |  |  | Public Incentive | Private Incentive | per Unit
| BPCK20 | Gas double rack oven | 0.5 | utilizing ASTM standard 2093 |  |  |  | 4200 | 1400 | oven
Food Steamers (Electric and Gas)
| Measure Code | Measure Description | Pan Capacity |  |  |  | Measure Code (for VLOOKUP) | Public Incentive | Private Incentive | per Unit
| BPCK1 | Electric 3-pan steamer | 3-pan |  |  |  | BPCK1 | 2000 | 2000 | steamer
| BPCK2 | Electric 4-pan steamer | 4-pan |  |  |  | BPCK2 | 2000 | 2000 | steamer
| BPCK3 | Electric 5-pan steamer | 5-pan |  |  |  | BPCK3 | 2000 | 2000 | steamer
| BPCK4 | Electric 6-pan steamer | 6-pan |  |  |  | BPCK4 | 2000 | 2000 | steamer
| BPCK9 | Gas 5-pan steamer | 5-pan |  |  |  | BPCK9 | 3000 | 1000 | steamer
| BPCK10 | Gas 6-pan steamer | 6-pan |  |  |  | BPCK10 | 3600 | 1200 | steamer
Dishwashers - High Temperature (with Booster Heater)
| Measure Code | Measure Description | [5 empty] | Public Incentive | Private Incentive | per Unit
| BPCK13 | Pot/pan/utensil type | [5 empty] | 400 | 400 | dishwasher
| BPCK13 | Under counter unit | [5 empty] | 500 | 500 | dishwasher
| BPCK13 | Door type unit | [5 empty] | 900 | 900 | dishwasher
| BPCK13 | Single-tank conveyor | [5 empty] | 1300 | 1300 | dishwasher
| BPCK13 | Multi-tank conveyor | [5 empty] | 2000 | 2000 | dishwasher
Green Nozzles
| Measure Code | Measure Description | [5 empty] | Incentive
| GN | Call toll free 1.866.800.0747 for details (Replaces current pre-rinse spray nozzle with low flow nozzle) | [5 empty] | FREE to you - $100 retail value
Kitchen Demand Ventilation Controls
| Measure Code | Measure Description | [5 empty] | Public Incentive | Private Incentive | per Unit
| BPCK21 | Demand control of kitchen ventilation fans | [5 empty] | 800 | 400 | hp controlled
Commerical Laundry
Laundry: Ozone System
| Measure Code | Measure Description | [5 empty] | Public Incentive | Private Incentive | per Unit
| BPM4 | Ozone laundry system | [5 empty] | 45 | 24 | lb capacity
Laundry: Commercial Dryer Moisture Sensor
| Measure Code | Measure Description | Facility |  |  |  |  | Public Incentive | Private Incentive | per Unit
| BPM12 | Commercial Clothes Dryer Moisture Sensor | Hotel/Motel |  |  |  |  | 400 | 400 | sensor
Fitness & Recreational Sports Center
Dry Cleaner
Hospital
Assisted Living Facility
Multifamily
Commercial Pool Equipment
Commercial Pool Cover
| Measure Code | Measure Description | Location |  |  |  |  | Public Incentive | Private Incentive | per Unit
| BPM5 | Insulated pool cover | Indoor |  |  |  |  | 1.8 | 1.8 | square foot
Outdoor
Pool Pump VFD
| Measure Code | Measure Description | [5 empty] | Public Incentive | Private Incentive | per Unit
| BPM11 | Variable Frequency Drive (VFD) on pool pump | [5 empty] | 400 | 400 | pump
Freezers
| Measure Code | Measure Description | Door Type | min cubic ft | max cubic ft | Display range |  | Public Incentive | Private Incentive | per Unit
| BPR27 | Solid door freezer (< 15cu ft) | solid door | 0 | 15 | less than 15 cu ft |  | 35 | 35 | freezer
| BPR28 | Solid door freezer (15-30 cu ft) | solid door | 15 | 30 | from 15 to 30 cu ft |  | 75 | 75 | freezer
| BPR29 | Solid door freezer (31-50 cu ft) | solid door | 31 | 50 | from 31 to 50 cu ft |  | 150 | 150 | freezer
| BPR30 | Solid door freezer (>51 cu ft) | solid door | 51 |  | greater than 51 cu ft |  | 250 | 250 | freezer
| BPR31 | Glass door freezer (31-50 cu ft) | glass door | 31 | 50 | from 31 to 50 cu ft |  | 300 | 300 | freezer
| BPR32 | Glass door freezer (>51 cu ft) | glass door | 51 |  | greater than 51 cu ft |  | 500 | 500 | freezer
Evaporator Fan EC Motor Controls
| Measure Code | Measure Description | Motor Size |  |  |  |  | Public Incentive | Private Incentive | per Unit
| BPR37 | ECM for evaporator fan | 1/15 – 1/20 HP motor |  |  |  |  | 110 | 110 | control
1/5 HP motor
1/3 HP motor
1/2 HP motor
3/4 HP motor
Q-Sync Motors
| Measure Code | Measure Description | Motor Type |  |  |  |  | Public Incentive | Private Incentive | per Unit
| BPR39 | Q-Sync Motors for Reach-In Coolers and Freezers | Cooler |  |  |  |  | 75 | 75 | motor
Freezer
Battery Chargers
| Measure Code | Measure Description | Number of Shifts |  |  |  |  | Public Incentive | Private Incentive | per Unit
| BPBC1 | High Frequency Battery Chargers | Single (8hr/5d) |  |  |  |  | 65 | 65 | unit/shift
2-shift (16hr/5d)
3-shift (24hr/5d)
4-shift (24hr/7d)
Air Conditioners (including RTUs)
| Measure Code | Measure Description | min Tons | max Tons | eff type | min eff | combined requirement | Public Incentive | Private Incentive | per Unit
| BPC5 | Less than 5.4 Tons input | 0.1 | 5.4 | min SEER2 | 15.9 | min SEER2 15.9 | 100 | 100 | unit
| BPC5 | 5.4 to 11.24 Tons input | 5.4 | 11.24 | min IEER | 15.2 | min IEER 15.2 | 120 | 120 | unit
| BPC5 | 11.25 to 19.9 Tons input | 11.25 | 19.9 | min IEER | 16.5 | min IEER 16.5 | 250 | 250 | unit
| BPC5 | 20 to 63.2 Tons input | 20 | 63.2 | min IEER | 15.5 | min IEER 15.5 | 650 | 650 | unit
| BPC5 | 63.3 or more Tons input | 63.3 | 999999999999 | min IEER | 14.8 | min IEER 14.8 | 1600 | 1600 | unit
Water-cooled Chillers
| Measure Code | Measure Description | Chiller Type | New Unit Size (Tons) | IECC Code Part A IPLV Rating | New Unit IPLV Rating | Quantity Installed | Public Incentive | Private Incentive
| BPC10 | Water-cooled Chillers | Postitive Displacement |  |  |  |  | 100 | 100 | ton/IPLV improvement
Centrifugal
Gas Furnaces
| Measure Code | Measure Description | Furnace Blower Used for AC? | New Unit Manufacturer and Model | New Unit Size (kBtuh) | New Unit AFUE | Quantity Installed | Public Incentive | Private Incentive
| BPH7 | 40-140 kBtuh | [5 empty] | 900 | 450 | unit
| BPH7 | 141-225 kBtuh | [5 empty] | 1000 | 550 | unit
Notched V-Belts
| Measure Code | Measure Description | [5 empty] | Public Incentive | Private Incentive
| BPH16 | Notched V-Belt for HVAC: A Section | A Section |  |  |  |  | 10 | 10 | unit
| BPH16 | Notched V-Belt for HVAC: B Section | B Section |  |  |  |  | 15 | 15 | unit
Heat Pump Water Heaters
| Measure Code | Measure Description | [5 empty] | Public Incentive | Private Incentive
| BPWH8 | Heat Pump Water Heater | Up to 150 Tons |  |  |  |  | 750 | 750 | unit
| BPWH8 | Heat Pump Water Heater | 150 Tons and greater
x